## 2002-2003
Millerton Reservoir - Water Quality Profiles 2002 to 2003
USBR only has temperature data, other WQ parameters might be available from Friant Water Users.
Locations
Date | Agency | Friant Dam | 1/4 mile US from Friant | 1/2 mile US from Friant | Winchell Bay | Fine Gold
2002-10-25 | FWUA | X | X | X
2002-11-01 | FWUA | X | X | X
2002-11-08 | FWUA | X | X | X
2002-11-15 | FWUA | X | X | X
2002-11-22 | FWUA | X | X | X
2002-12-04 | FWUA | X | X | X
2002-12-13 | FWUA | X | X | X
2002-12-20 | FWUA | X | X | X
2002-12-28 | FWUA | X | N/A | N/A
2003-01-03 | FWUA | X | X | X
2003-01-10 | FWUA | X | X | X
2003-01-17 | FWUA | X | X | X
2003-01-24 | FWUA | X | X | X
2003-01-31 | FWUA | X | X | X
2003-02-07 | FWUA | X | X | X
2003-02-14 | FWUA | X | X | X
2003-02-21 | FWUA | X | X | X
2003-02-28 | FWUA | X | X | X
2003-03-07 | FWUA | X | X | X
2003-03-14 | FWUA | X | X | X
2003-03-19 | FWUA | X | X | X
2003-03-28 | FWUA | X | X | X
2003-04-04 | FWUA | X | X | X
2003-04-11 | FWUA | X | X | X
2003-04-18 | FWUA | X | X | X
2003-04-25 | FWUA | X | X | X
2003-05-05 | FWUA | X | X | X
2003-05-09 | FWUA | X | X | X
2003-05-16 | FWUA | X | X | X
2003-05-23 | FWUA | X | X | X
2003-05-30 | FWUA | X | X | X
2003-06-06 | FWUA | X | X | X
2003-06-13 | FWUA | X | X | X
2003-06-20 | FWUA | X | X | X
2003-06-27 | FWUA | X | X | X
2003-07-03 | FWUA | X | X | X
2003-07-11 | FWUA | X | X | X
2003-07-18 | FWUA | X | X | X
2003-07-25 | FWUA | X | X | X
2003-08-01 | FWUA | X | X | X
2003-08-08 | FWUA | X | X | X
2003-08-15 | FWUA | X | X | X
2003-08-22 | FWUA | X | X | X
2003-08-29 | FWUA | X | X | X
2003-09-05 | FWUA | X | X | X
2003-09-12 | FWUA | X | X | X
2003-09-19 | FWUA | X | X | X
2003-09-26 | FWUA | X | X | X
2003-10-03 | FWUA | X | X | N/A
2003-10-14 | FWUA | X | X | X

## 2004-2005
Millerton Reservoir - Water Quality Profiles 2004 to 2005
Locations
Date | Agency | MILLERTON WSEL | Friant Dam | 1/2 mile US from Friant | Winchell Bay | Fine Gold
2004-06-04 | FWUA |  | X | X
2004-06-12 | FWUA |  | X | X | X | X
2004-07-14 | FWUA |  | X | X | X | X
2004-08-06 | FWUA/USBR |  |  | X | X | X
2004-10-01 | USBR |  |  | X | X | X
2004-11-16 | USBR | 507.11 | x | X | X | X
2004-12-14 | USBR | 527.72 | x | X | X | X
2005-01-18 | USBR | 556.82 | x | x | x | x
Probe was sent back to manufacturer to fix cable problem, per email from M. Wolfe at Friant
2005-03-24 | USBR | 555.15 | x | X | X | X
2005-04-05 | USBR | 570.42 | x | X | X | X
2005-04-22 | USBR | 563.03 | x | X | X | X
2005-05-12 | USBR | 553.25 | x | X | X | X
2005-06-02 | USBR | 564.24 | x | X | X | X
2005-06-24 | USBR | 578.18 | x | X | X | X
2005-07-11 | USBR |  |  | X
2005-07-19 | USBR | 578 | x |  | X | X
2005-08-04 | USBR | 558.5 | x | X | X | X
2005-08-19 | USBR | 539.3 | x | X (8/18) | X | X
2005-09-01 | USBR | 525 | x | X | X | X
2005-09-22 | USBR | 510.39 | x | X | X | X
2005-10-11 | USBR | 503.13 | x | X | X | X
2005-11-07 | USBR | 506.36 | x | X | X | X | Bad Conductivity Readings
Note on B9: Tracy B. Vermeyen: USBR personnel take over WQ profiling from FWUA
Note on D8: Tracy B. Vermeyen: Dropped from sampling program because it was redundant with 1/2-mile profile.

## 2006
Millerton Reservoir - Water Quality Profiles 2006
Locations
Date | Agency | MILLERTON WSEL | Friant Dam | 1/2 mile US from Friant | Winchell Bay | Fine Gold
2006-01-10 | USBR | 546.68 |  | x | x | x
2006-02-10 | USBR | 554.82 |  | x | x | x | I question all DO measurements, they seem high
2006-03-20 | USBR | 566.44 |  | x | x | x | I question all DO measurements, they seem high
2006-04-21 | USBR | 549.38 |  | x | x | x | I question all DO measurements, they seem high
2006-05-08 | USBR | 536.57 |  | x | x | x | I question all DO measurements, they seem high
2006-05-25 | USBR | 560.25 |  | x | x | x | I question all DO measurements, they seem high
2006-06-15 | USBR | 576.39 |  | x | x | x | I question all DO measurements, they seem high
2006-07-14 | USBR | 576.06 |  | x | x | x | I question all DO measurements, they seem high
2006-08-01 | USBR | 567.43 |  | x | x | x | I question all DO measurements, they seem high
2006-09-21 | USBR | 517.29 |  | x | x | x | I question all DO measurements, they seem high
2006-10-23 | USBR | 509.33 |  | x | x | x | I question all DO measurements, they seem high
2006-11-15 | USBR | 511.15 |  | x | x | x | I question all DO measurements, they seem high
2006-12-21 | USBR | 509.69 |  | x | x | x | I question all DO measurements, they seem high

## 2007
Millerton Reservoir - Water Quality Profiles 2007
Locations
Date | Agency | MILLERTON WSEL | Friant Dam | 1/2 mile US from Friant | Winchell Bay | Fine Gold
2007-01-23 | USBR | 508.12 |  | x | x | x | I question all the DO & pH readings for 2007. They seem to very high.
2007-02-21 | USBR | 497.88 |  | x | x | x | I question all the DO & pH readings for 2007. They seem to very high.
2007-03-23 | USBR | 508.55 |  | x | x | x | I question all the DO & pH readings for 2007. They seem to very high.
2007-04-27 | USBR | 523.31 |  | x | x | x | I question all the DO & pH readings for 2007. They seem to very high.
Probe sent in for maintenance | [6 empty] | In-Situ said the DO and pH probes were bad
2007-08-22 | USBR | 493.3 |  | x | x | x | New Probe Troll 9500 by Insitu
2007-09-12 | USBR | 488.2 |  | x | x | x
2007-10-09 | USBR | 490.62 |  | 2007-09-27 | x | x
2007-11-16 | USBR | 479.88 |  | x | x | x
2007-12-19 | USBR | 484.47 |  | x | x | x

## 2008
Millerton Reservoir - Water Quality Profiles 2008
Locations
Date | Agency | MILLERTON WSEL | Friant Dam | 1/2 mile US from Friant | Winchell Bay | Fine Gold
2008-01-17 | USBR | 497.43 |  | x | x | x
2008-02-29 | USBR | 515.33 |  | x | x | x
2008-03-25 | USBR | 522.38 |  | x | x | x
2008-04-22 | USBR | 516.35 |  | x | x | x
2008-05-13 | USBR | 530.56 |  | x | x | x
2008-07-29 | USBR | 501.89 |  | x | x | x
2008-09-08 | USBR | 500.85 |  | x | x | x
2008-09-29 | USBR | 494.4 |  | x | x | x
2008-10-30 | USBR | 483.41 |  | x | x | x
2008-11-25 | USBR | 485.77 |  | x | x | x
2008-12-11 | USBR | 489.27 |  | x | x | x

## 2009
Millerton Reservoir - Water Quality Profiles 2009
Locations
Date | Agency | MILLERTON WSEL | Friant Dam | 1/2 mile US from Friant | Winchell Bay | Fine Gold
2009-01-07 | USBR | 493.25 |  | x | x | x
2009-02-05 | USBR | 507.4 |  | x | x | x
2009-03-18 | USBR | 541.75 |  | x | x | x
2009-04-14 | USBR | 555.23 |  | x | x | x
| USBR | #N/A
| USBR | #N/A
| USBR | #N/A
| USBR | #N/A
| USBR | #N/A

## WSEL QUERY
Date / Time | RES ELE
FEET
2004-01-01 | 512.52
2004-01-02 | 513.27
2004-01-03 | 513.86
2004-01-04 | 514.37
2004-01-05 | 514.8
2004-01-06 | 515.53
2004-01-07 | 516.29
2004-01-08 | 517.6
2004-01-09 | 519.05
2004-01-10 | 519.95
2004-01-11 | 521.1
2004-01-12 | 521.67
2004-01-13 | 522.1
2004-01-14 | 522.78
2004-01-15 | 523.54
2004-01-16 | 524.16
2004-01-17 | 524.67
2004-01-18 | 525.26
2004-01-19 | 525.98
2004-01-20 | 526.59
2004-01-21 | 527.05
2004-01-22 | 527.01
2004-01-23 | 526.89
2004-01-24 | 526.81
2004-01-25 | 526.86
2004-01-26 | 527.36
2004-01-27 | 528.11
2004-01-28 | 528.74
2004-01-29 | 529.71
2004-01-30 | 530.55
2004-01-31 | 531.14
2004-02-01 | 531.71
2004-02-02 | 532.16
2004-02-03 | 532.94
2004-02-04 | 533.62
2004-02-05 | 534.26
2004-02-06 | 534.68
2004-02-07 | 535.12
2004-02-08 | 535.57
2004-02-09 | 536.09
2004-02-10 | 536.32
2004-02-11 | 536.5
2004-02-12 | 536.67
2004-02-13 | 536.78
2004-02-14 | 537.06
2004-02-15 | 537.22
2004-02-16 | 537.37
2004-02-17 | 537.54
2004-02-18 | 537.82
2004-02-19 | 537.92
2004-02-20 | 538.42
2004-02-21 | 538.98
2004-02-22 | 539.4
2004-02-23 | 539.77
2004-02-24 | 540.27
2004-02-25 | 540.75
2004-02-26 | 541.86
2004-02-27 | 542.4
2004-02-28 | 542.86
2004-02-29 | 543.36
2004-03-01 | 543.89
2004-03-02 | 544.47
2004-03-03 | 545.3
2004-03-04 | 545.49
2004-03-05 | 545.46
2004-03-06 | 545.62
2004-03-07 | 546.2
2004-03-08 | 546.87
2004-03-09 | 547.44
2004-03-10 | 548.01
2004-03-11 | 548.17
2004-03-12 | 548.9
2004-03-13 | 549.68
2004-03-14 | 550.3
2004-03-15 | 550.57
2004-03-16 | 551.19
2004-03-17 | 551.86
2004-03-18 | 552.32
2004-03-19 | 553
2004-03-20 | 553.59
2004-03-21 | 554.1
2004-03-22 | 554.66
2004-03-23 | 555.12
2004-03-24 | 555.49
2004-03-25 | 555.85
2004-03-26 | 556.7
2004-03-27 | 557.6
2004-03-28 | 558.62
2004-03-29 | 559.4
2004-03-30 | 560.13
2004-03-31 | 560.85
2004-04-01 | 561.46
2004-04-02 | 562
2004-04-03 | 562.55
2004-04-04 | 562.83
2004-04-05 | 563.06
2004-04-06 | 563.11
2004-04-07 | 562.95
2004-04-08 | 562.89
2004-04-09 | 562.96
2004-04-10 | 563.2
2004-04-11 | 563.6
2004-04-12 | 563.85
2004-04-13 | 563.81
2004-04-14 | 563.9
2004-04-15 | 564.09
2004-04-16 | 564.23
2004-04-17 | 564.57
2004-04-18 | 564.74
2004-04-19 | 564.99
2004-04-20 | 565.26
2004-04-21 | 565.45
2004-04-22 | 565.75
2004-04-23 | 565.95
2004-04-24 | 566.35
2004-04-25 | 566.83
2004-04-26 | 567.17
2004-04-27 | 567.6
2004-04-28 | 567.53
2004-04-29 | 567.64
2004-04-30 | 567.94
2004-05-01 | 568.35
2004-05-02 | 568.68
2004-05-03 | 569.02
2004-05-04 | 569.02
2004-05-05 | 569.09
2004-05-06 | 569.16
2004-05-07 | 569.25
2004-05-08 | 569.32
2004-05-09 | 569.48
2004-05-10 | 569.39
2004-05-11 | 569.35
2004-05-12 | 569.59
2004-05-13 | 569.84
2004-05-14 | 569.93
2004-05-15 | 570.14
2004-05-16 | 570.41
2004-05-17 | 570.57
2004-05-18 | 570.72
2004-05-19 | 570.64
2004-05-20 | 570.66
2004-05-21 | 570.64
2004-05-22 | 570.44
2004-05-23 | 570.19
2004-05-24 | 569.76
2004-05-25 | 569.14
2004-05-26 | 568.52
2004-05-27 | 567.88
2004-05-28 | 567.35
2004-05-29 | 566.87
2004-05-30 | 566.73
2004-05-31 | 566.16
2004-06-01 | 565.45
2004-06-02 | 564.61
2004-06-03 | 563.61
2004-06-04 | 562.72
2004-06-05 | 561.97
2004-06-06 | 561.21
2004-06-07 | 560.44
2004-06-08 | 559.61
2004-06-09 | 558.94
2004-06-10 | 558.14
2004-06-11 | 557.7
2004-06-12 | 557.27
2004-06-13 | 556.47
2004-06-14 | 555.74
2004-06-15 | 554.53
2004-06-16 | 553.33
2004-06-17 | 552.43
2004-06-18 | 551.78
2004-06-19 | 550.78
2004-06-20 | 549.65
2004-06-21 | 549.36
2004-06-22 | 548.5
2004-06-23 | 547.4
2004-06-24 | 546.44
2004-06-25 | 545.67
2004-06-26 | 545.17
2004-06-27 | 544.42
2004-06-28 | 543.66
2004-06-29 | 542.5
2004-06-30 | 541.62
2004-07-01 | 540.82
2004-07-02 | 540.09
2004-07-03 | 539.8
2004-07-04 | 538.65
2004-07-05 | 537.86
2004-07-06 | 536.7
2004-07-07 | 535.32
2004-07-08 | 533.65
2004-07-09 | 532.36
2004-07-10 | 531.57
2004-07-11 | 529.7
2004-07-12 | 528.51
2004-07-13 | 527.19
2004-07-14 | 526.23
2004-07-15 | 525.09
2004-07-16 | 524.17
2004-07-17 | 523.41
2004-07-18 | 522.7
2004-07-19 | 522.02
2004-07-20 | 521.51
2004-07-21 | 520.45
2004-07-22 | 519.22
2004-07-23 | 518.1
2004-07-24 | 517.32
2004-07-25 | 516.68
2004-07-26 | 515.94
2004-07-27 | 515
2004-07-28 | 514.06
2004-07-29 | 512.87
2004-07-30 | 511.96
2004-07-31 | 511.15
2004-08-01 | 510.35
2004-08-02 | 509.02
2004-08-03 | 507.84
2004-08-04 | 506.95
2004-08-05 | 505.92
2004-08-06 | 505.05
2004-08-07 | 504.18
2004-08-08 | 503.36
2004-08-09 | 502.54
2004-08-10 | 501.6
2004-08-11 | 500.66
2004-08-12 | 499.75
2004-08-13 | 499.06
2004-08-14 | 498.4
2004-08-15 | 498.04
2004-08-16 | 497.59
2004-08-17 | 497.01
2004-08-18 | 496.55
2004-08-19 | 496.04
2004-08-20 | 496
2004-08-21 | 495.53
2004-08-22 | 494.98
2004-08-23 | 494.39
2004-08-24 | 493.86
2004-08-25 | 493.61
2004-08-26 | 493.01
2004-08-27 | 492.96
2004-08-28 | 493.1
2004-08-29 | 492.83
2004-08-30 | 492.53
2004-08-31 | 492.07
2004-09-01 | 491.58
2004-09-02 | 491.11
2004-09-03 | 491
2004-09-04 | 490.9
2004-09-05 | 491.1
2004-09-06 | 490.97
2004-09-07 | 491.01
2004-09-08 | 490.84
2004-09-09 | 490.8
2004-09-10 | 491.15
2004-09-11 | 491.22
2004-09-12 | 491.46
2004-09-13 | 491.29
2004-09-14 | 491.11
2004-09-15 | 490.88
2004-09-16 | 490.79
2004-09-17 | 490.61
2004-09-18 | 490.01
2004-09-19 | 489.9
2004-09-20 | 489.36
2004-09-21 | 489.59
2004-09-22 | 489.43
2004-09-23 | 489.33
2004-09-24 | 489.59
2004-09-25 | 489.5
2004-09-26 | 489.75
2004-09-27 | 489.33
2004-09-28 | 488.52
2004-09-29 | 487.86
2004-09-30 | 487.73
2004-10-01 | 487.76
2004-10-02 | 487.66
2004-10-03 | 487.7
2004-10-04 | 487.62
2004-10-05 | 487.4
2004-10-06 | 486.94
2004-10-07 | 487.03
2004-10-08 | 486.74
2004-10-09 | 486.65
2004-10-10 | 486.41
2004-10-11 | 486.05
2004-10-12 | 485.73
2004-10-13 | 485.33
2004-10-14 | 485
2004-10-15 | 484.88
2004-10-16 | 484.61
2004-10-17 | 484.5
2004-10-18 | 484.46
2004-10-19 | 484.94
2004-10-20 | 485.87
2004-10-21 | 486.65
2004-10-22 | 487.99
2004-10-23 | 489.52
2004-10-24 | 490.97
2004-10-25 | 492.42
2004-10-26 | 493.44
2004-10-27 | 494.56
2004-10-28 | 495.35
2004-10-29 | 496.41
2004-10-30 | 497.24
2004-10-31 | 497.51
2004-11-01 | 498.15
2004-11-02 | 499.03
2004-11-03 | 500.31
2004-11-04 | 500.78
2004-11-05 | 501.25
2004-11-06 | 501.75
2004-11-07 | 502.34
2004-11-08 | 503.01
2004-11-09 | 503.47
2004-11-10 | 504.26
2004-11-11 | 504.73
2004-11-12 | 505.37
2004-11-13 | 505.95
2004-11-14 | 506.52
2004-11-15 | 507.1
2004-11-16 | 507.85
2004-11-17 | 508.93
2004-11-18 | 509.66
2004-11-19 | 510.27
2004-11-20 | 511.13
2004-11-21 | 511.68
2004-11-22 | 512.51
2004-11-23 | 513.35
2004-11-24 | 513.85
2004-11-25 | 514.49
2004-11-26 | 515.2
2004-11-27 | 516.07
2004-11-28 | 516.86
2004-11-29 | 518.29
2004-11-30 | 519.04
2004-12-01 | 519.91
2004-12-02 | 520.56
2004-12-03 | 521.26
2004-12-04 | 522.12
2004-12-05 | 522.81
2004-12-06 | 523.7
2004-12-07 | 524.59
2004-12-08 | 525.27
2004-12-09 | 525.76
2004-12-10 | 526.04
2004-12-11 | 526.54
2004-12-12 | 526.92
2004-12-13 | 527.61
2004-12-14 | 528.26
2004-12-15 | 528.78
2004-12-16 | 529.39
2004-12-17 | 529.89
2004-12-18 | 530.64
2004-12-19 | 530.95
2004-12-20 | 531.37
2004-12-21 | 531.71
2004-12-22 | 532.07
2004-12-23 | 532.54
2004-12-24 | 532.84
2004-12-25 | 533.18
2004-12-26 | 533.57
2004-12-27 | 534.04
2004-12-28 | 534.36
2004-12-29 | 534.78
2004-12-30 | 535.4
2004-12-31 | 538.27
2005-01-01 | 538.98
2005-01-02 | 539.89
2005-01-03 | 540.33
2005-01-04 | 541.27
2005-01-05 | 542.01
2005-01-06 | 543.21
2005-01-07 | 544.41
2005-01-08 | 545.79
2005-01-09 | 547.11
2005-01-10 | 549.11
2005-01-11 | 551.34
2005-01-12 | 552.43
2005-01-13 | 553.52
2005-01-14 | 554.52
2005-01-15 | 555.1
2005-01-16 | 555.61
2005-01-17 | 556.43
2005-01-18 | 557.42
2005-01-19 | 557.58
2005-01-20 | 557.2
2005-01-21 | 556.75
2005-01-22 | 556.52
2005-01-23 | 556.28
2005-01-24 | 556.37
2005-01-25 | 556.1
2005-01-26 | 555.76
2005-01-27 | 555.75
2005-01-28 | 555.71
2005-01-29 | 555.72
2005-01-30 | 555.73
2005-01-31 | 555.15
2005-02-01 | 554.13
2005-02-02 | 553
2005-02-03 | 552.02
2005-02-04 | 551.37
2005-02-05 | 550.76
2005-02-06 | 550.12
2005-02-07 | 549.41
2005-02-08 | 548.72
2005-02-09 | 548.09
2005-02-10 | 547.47
2005-02-11 | 547.65
2005-02-12 | 547.53
2005-02-13 | 547.23
2005-02-14 | 547.02
2005-02-15 | 547.51
2005-02-16 | 548.09
2005-02-17 | 548.2
2005-02-18 | 548.39
2005-02-19 | 548.52
2005-02-20 | 548.82
2005-02-21 | 549.63
2005-02-22 | 549.89
2005-02-23 | 550.54
2005-02-24 | 550.98
2005-02-25 | 551.63
2005-02-26 | 552.24
2005-02-27 | 552.73
2005-02-28 | 553.43
2005-03-01 | 554.18
2005-03-02 | 554.61
2005-03-03 | 555.09
2005-03-04 | 555.38
2005-03-05 | 555.9
2005-03-06 | 556.36
2005-03-07 | 556.57
2005-03-08 | 556.99
2005-03-09 | 557.49
2005-03-10 | 558.01
2005-03-11 | 558.75
2005-03-12 | 559.46
2005-03-13 | 559.95
2005-03-14 | 560.3
2005-03-15 | 560.55
2005-03-16 | 560.51
2005-03-17 | 560.52
2005-03-18 | 560.35
2005-03-19 | 560.7
2005-03-20 | 560.7
2005-03-21 | 561.22
2005-03-22 | 562.73
2005-03-23 | 566.23
2005-03-24 | 567.85
2005-03-25 | 568.98
2005-03-26 | 569.51
2005-03-27 | 569.88
2005-03-28 | 570.35
2005-03-29 | 570.89
2005-03-30 | 571.32
2005-03-31 | 571.6
2005-04-01 | 571.17
2005-04-02 | 571.34
2005-04-03 | 571.1
2005-04-04 | 570.66
2005-04-05 | 570.25
2005-04-06 | 569.58
2005-04-07 | 569.27
2005-04-08 | 568.94
2005-04-09 | 568.81
2005-04-10 | 568.3
2005-04-11 | 567.64
2005-04-12 | 567.12
2005-04-13 | 566.77
2005-04-14 | 566.33
2005-04-15 | 565.98
2005-04-16 | 565.94
2005-04-17 | 565.57
2005-04-18 | 565.19
2005-04-19 | 565.12
2005-04-20 | 564.25
2005-04-21 | 563.39
2005-04-22 | 562.6
2005-04-23 | 561.52
2005-04-24 | 560.31
2005-04-25 | 559.35
2005-04-26 | 558.17
2005-04-27 | 557.08
2005-04-28 | 556.4
2005-04-29 | 555.56
2005-04-30 | 554.95
2005-05-01 | 553.92
2005-05-02 | 553.22
2005-05-03 | 552.04
2005-05-04 | 550.64
2005-05-05 | 549.84
2005-05-06 | 549.24
2005-05-07 | 548.97
2005-05-08 | 548.56
2005-05-09 | 549.52
2005-05-10 | 552.53
2005-05-11 | 553.33
2005-05-12 | 553.07
2005-05-13 | 552.45
2005-05-14 | 552.46
2005-05-15 | 553.07
2005-05-16 | 557.42
2005-05-17 | 560.69
2005-05-18 | 560.58
2005-05-19 | 560.21
2005-05-20 | 560.24
2005-05-21 | 560.18
2005-05-22 | 560.15
2005-05-23 | 560.54
2005-05-24 | 560.93
2005-05-25 | 561.04
2005-05-26 | 561.63
2005-05-27 | 562.82
2005-05-28 | 563.85
2005-05-29 | 564.59
2005-05-30 | 564.11
2005-05-31 | 563.47
2005-06-01 | 563.51
2005-06-02 | 564.19
2005-06-03 | 565.35
2005-06-04 | 566.08
2005-06-05 | 566.54
2005-06-06 | 566.83
2005-06-07 | 566.4
2005-06-08 | 565.33
2005-06-09 | 564.28
2005-06-10 | 563.44
2005-06-11 | 563.99
2005-06-12 | 565.15
2005-06-13 | 566.81
2005-06-14 | 569.3
2005-06-15 | 571.79
2005-06-16 | 574.1
2005-06-17 | 575.17
2005-06-18 | 575.74
2005-06-19 | 576.34
2005-06-20 | 576.99
2005-06-21 | 577.78
2005-06-22 | 578.57
2005-06-23 | 578.52
2005-06-24 | 578.15
2005-06-25 | 577.94
2005-06-26 | 577.6
2005-06-27 | 576.76
2005-06-28 | 576.07
2005-06-29 | 575.4
2005-06-30 | 575.65
2005-07-01 | 576.2
2005-07-02 | 577.04
2005-07-03 | 577.96
2005-07-04 | 578.36
2005-07-05 | 578.55
2005-07-06 | 578.62
2005-07-07 | 578.38
2005-07-08 | 578.35
2005-07-09 | 578.3
2005-07-10 | 578.08
2005-07-11 | 578.07
2005-07-12 | 578.13
2005-07-13 | 578.14
2005-07-14 | 578.06
2005-07-15 | 577.7
2005-07-16 | 577.42
2005-07-17 | 576.99
2005-07-18 | 576.34
2005-07-19 | 575.63
2005-07-20 | 574.99
2005-07-21 | 574.24
2005-07-22 | 573.25
2005-07-23 | 572.7
2005-07-24 | 572.04
2005-07-25 | 571.16
2005-07-26 | 570.24
2005-07-27 | 569.04
2005-07-28 | 567.79
2005-07-29 | 566.48
2005-07-30 | 565.19
2005-07-31 | 563.99
2005-08-01 | 562.35
2005-08-02 | 561.08
2005-08-03 | 559.48
2005-08-04 | 557.84
2005-08-05 | 556.33
2005-08-06 | 555
2005-08-07 | 553.69
2005-08-08 | 552.45
2005-08-09 | 550.8
2005-08-10 | 549.37
2005-08-11 | 548.05
2005-08-12 | 546.75
2005-08-13 | 545.75
2005-08-14 | 544.53
2005-08-15 | 543.42
2005-08-16 | 542.47
2005-08-17 | 541.16
2005-08-18 | 540
2005-08-19 | 539
2005-08-20 | 537.9
2005-08-21 | 536.57
2005-08-22 | 535.42
2005-08-23 | 534.29
2005-08-24 | 532.91
2005-08-25 | 531.96
2005-08-26 | 531
2005-08-27 | 530.22
2005-08-28 | 529.46
2005-08-29 | 528.82
2005-08-30 | 527.66
2005-08-31 | 526.28
2005-09-01 | 525
2005-09-02 | 524.32
2005-09-03 | 523.47
2005-09-04 | 523.08
2005-09-05 | 522.24
2005-09-06 | 521.29
2005-09-07 | 520.49
2005-09-08 | 519.78
2005-09-09 | 519.2
2005-09-10 | 518.69
2005-09-11 | 518.34
2005-09-12 | 518
2005-09-13 | 517.17
2005-09-14 | 516.16
2005-09-15 | 515.7
2005-09-16 | 514.89
2005-09-17 | 514.53
2005-09-18 | 513.91
2005-09-19 | 512.92
2005-09-20 | 512.27
2005-09-21 | 511.46
2005-09-22 | 510.71
2005-09-23 | 510.35
2005-09-24 | 509.63
2005-09-25 | 509.08
2005-09-26 | 508.74
2005-09-27 | 508.12
2005-09-28 | 507.58
2005-09-29 | 507.07
2005-09-30 | 506.63
2005-10-01 | 506.25
2005-10-02 | 505.95
2005-10-03 | 505.65
2005-10-04 | 505.3
2005-10-05 | 504.75
2005-10-06 | 504.17
2005-10-07 | 503.96
2005-10-08 | 503.7
2005-10-09 | 503.58
2005-10-10 | 503.84
2005-10-11 | 504.08
2005-10-12 | 504.29
2005-10-13 | 504.59
2005-10-14 | 504.72
2005-10-15 | 504.54
2005-10-16 | 504.82
2005-10-17 | 504.98
2005-10-18 | 504.85
2005-10-19 | 505.27
2005-10-20 | 504.98
2005-10-21 | 504.83
2005-10-22 | 504.86
2005-10-23 | 505.05
2005-10-24 | 504.95
2005-10-25 | 504.92
2005-10-26 | 504.8
2005-10-27 | 504.63
2005-10-28 | 504.67
2005-10-29 | 504.94
2005-10-30 | 505.44
2005-10-31 | 505.77
2005-11-01 | 505.9
2005-11-02 | 506.12
2005-11-03 | 506.08
2005-11-04 | 506.12
2005-11-05 | 506.43
2005-11-06 | 506.75
2005-11-07 | 507.12
2005-11-08 | 507.6
2005-11-09 | 508.05
2005-11-10 | 508.61
2005-11-11 | 509.33
2005-11-12 | 509.67
2005-11-13 | 510.68
2005-11-14 | 510.78
2005-11-15 | 510.92
2005-11-16 | 510.77
2005-11-17 | 510.68
2005-11-18 | 510.57
2005-11-19 | 510.62
2005-11-20 | 510.84
2005-11-21 | 511.05
2005-11-22 | 511.32
2005-11-23 | 511.5
2005-11-24 | 512.13
2005-11-25 | 512.43
2005-11-26 | 512.62
2005-11-27 | 512.86
2005-11-28 | 512.99
2005-11-29 | 513.2
2005-11-30 | 513.4
2005-12-01 | 513.75
2005-12-02 | 514.25
2005-12-03 | 514.73
2005-12-04 | 514.9
2005-12-05 | 515.07
2005-12-06 | 515.25
2005-12-07 | 515.38
2005-12-08 | 515.79
2005-12-09 | 516.22
2005-12-10 | 516.72
2005-12-11 | 517.43
2005-12-12 | 518.13
2005-12-13 | 518.35
2005-12-14 | 519.17
2005-12-15 | 519.79
2005-12-16 | 520.28
2005-12-17 | 521
2005-12-18 | 522.11
2005-12-19 | 523.13
2005-12-20 | 523.76
2005-12-21 | 524.32
2005-12-22 | 525
2005-12-23 | 525.6
2005-12-24 | 526.18
2005-12-25 | 526.76
2005-12-26 | 527.43
2005-12-27 | 528.16
2005-12-28 | 528.83
2005-12-29 | 529.63
2005-12-30 | 530.71
2005-12-31 | 532.85
2006-01-01 | 534.65
2006-01-02 | 538.81
2006-01-03 | 541.63
2006-01-04 | 542.99
2006-01-05 | 544.06
2006-01-06 | 544.55
2006-01-07 | 545.43
2006-01-08 | 546.07
2006-01-09 | 546.57
2006-01-10 | 546.68
2006-01-11 | 546.73
2006-01-12 | 546.8
2006-01-13 | 547.39
2006-01-14 | 547.62
2006-01-15 | 548.17
2006-01-16 | 548.35
2006-01-17 | 548.36
2006-01-18 | 548.43
2006-01-19 | 548.9
2006-01-20 | 549.13
2006-01-21 | 549.07
2006-01-22 | 549.02
2006-01-23 | 548.73
2006-01-24 | 548.23
2006-01-25 | 548.04
2006-01-26 | 548.17
2006-01-27 | 547.96
2006-01-28 | 548.69
2006-01-29 | 549.33
2006-01-30 | 550
2006-01-31 | 550.6
2006-02-01 | 551.25
2006-02-02 | 551.83
2006-02-03 | 552.28
2006-02-04 | 552.84
2006-02-05 | 553.44
2006-02-06 | 553.63
2006-02-07 | 553.89
2006-02-08 | 554.06
2006-02-09 | 554.38
2006-02-10 | 554.82
2006-02-11 | 554.76
2006-02-12 | 554.97
2006-02-13 | 555.37
2006-02-14 | 554.93
2006-02-15 | 554.7
2006-02-16 | 554.51
2006-02-17 | 554.24
2006-02-18 | 553.83
2006-02-19 | 553.66
2006-02-20 | 553.35
2006-02-21 | 553.15
2006-02-22 | 552.93
2006-02-23 | 552.53
2006-02-24 | 551.83
2006-02-25 | 551.6
2006-02-26 | 551.43
2006-02-27 | 550.73
2006-02-28 | 551.96
2006-03-01 | 552.34
2006-03-02 | 552.24
2006-03-03 | 552.47
2006-03-04 | 552.64
2006-03-05 | 553.5
2006-03-06 | 554.37
2006-03-07 | 555.36
2006-03-08 | 555.85
2006-03-09 | 556.31
2006-03-10 | 557.15
2006-03-11 | 558.23
2006-03-12 | 559.16
2006-03-13 | 559.59
2006-03-14 | 560.57
2006-03-15 | 561.51
2006-03-16 | 562.43
2006-03-17 | 563.34
2006-03-18 | 564.39
2006-03-19 | 565.38
2006-03-20 | 566.44
2006-03-21 | 566.61
2006-03-22 | 567.34
2006-03-23 | 567.76
2006-03-24 | 567.92
2006-03-25 | 568.2
2006-03-26 | 568.74
2006-03-27 | 568.96
2006-03-28 | 569.91
2006-03-29 | 571.66
2006-03-30 | 572.46
2006-03-31 | 572.87
2006-04-01 | 573.47
2006-04-02 | 573.83
2006-04-03 | 575.06
2006-04-04 | 577.74
2006-04-05 | 579.06
2006-04-06 | 578.3
2006-04-07 | 576.98
2006-04-08 | 575.04
2006-04-09 | 573.04
2006-04-10 | 570.93
2006-04-11 | 568.64
2006-04-12 | 566.48
2006-04-13 | 564.3
2006-04-14 | 562.26
2006-04-15 | 560.19
2006-04-16 | 558.25
2006-04-17 | 557.06
2006-04-18 | 555.47
2006-04-19 | 553.31
2006-04-20 | 551.29
2006-04-21 | 549.38
2006-04-22 | 547.43
2006-04-23 | 545.4
2006-04-24 | 543.23
2006-04-25 | 541.05
2006-04-26 | 538.66
2006-04-27 | 536.29
2006-04-28 | 533.93
2006-04-29 | 532.17
2006-04-30 | 533.42
2006-05-01 | 534.66
2006-05-02 | 535.83
2006-05-03 | 536.49
2006-05-04 | 536.56
2006-05-05 | 536.32
2006-05-06 | 536.13
2006-05-07 | 536.2
2006-05-08 | 536.57
2006-05-09 | 537.25
2006-05-10 | 537.56
2006-05-11 | 538.38
2006-05-12 | 539.05
2006-05-13 | 539.82
2006-05-14 | 541.6
2006-05-15 | 543.91
2006-05-16 | 545.81
2006-05-17 | 547.28
2006-05-18 | 549.22
2006-05-19 | 551.37
2006-05-20 | 554.17
2006-05-21 | 555.58
2006-05-22 | 558.17
2006-05-23 | 558.67
2006-05-24 | 559.2
2006-05-25 | 560.25
2006-05-26 | 562.4
2006-05-27 | 564.7
2006-05-28 | 566.11
2006-05-29 | 566.94
2006-05-30 | 567.38
2006-05-31 | 568.03
2006-06-01 | 568.86
2006-06-02 | 570.12
2006-06-03 | 571.51
2006-06-04 | 573.1
2006-06-05 | 574.46
2006-06-06 | 575.96
2006-06-07 | 577.22
2006-06-08 | 577.79
2006-06-09 | 578.06
2006-06-10 | 578.03
2006-06-11 | 577.79
2006-06-12 | 577.7
2006-06-13 | 577.11
2006-06-14 | 576.71
2006-06-15 | 576.39
2006-06-16 | 576.73
2006-06-17 | 577.5
2006-06-18 | 578.49
2006-06-19 | 578.73
2006-06-20 | 578.49
2006-06-21 | 578.04
2006-06-22 | 577.61
2006-06-23 | 577.29
2006-06-24 | 576.97
2006-06-25 | 576.41
2006-06-26 | 576.3
2006-06-27 | 576.62
2006-06-28 | 577.24
2006-06-29 | 578.04
2006-06-30 | 578.53
2006-07-01 | 578.62
2006-07-02 | 578.85
2006-07-03 | 578.5
2006-07-04 | 578.22
2006-07-05 | 578.4
2006-07-06 | 578.34
2006-07-07 | 578.34
2006-07-08 | 578.32
2006-07-09 | 578.12
2006-07-10 | 577.79
2006-07-11 | 577.37
2006-07-12 | 576.87
2006-07-13 | 576.51
2006-07-14 | 576.06
2006-07-15 | 575.49
2006-07-16 | 575.01
2006-07-17 | 574.12
2006-07-18 | 573.7
2006-07-19 | 572.98
2006-07-20 | 572.55
2006-07-21 | 572.44
2006-07-22 | 572.35
2006-07-23 | 572.27
2006-07-24 | 572.08
2006-07-25 | 571.87
2006-07-26 | 571.66
2006-07-27 | 571.19
2006-07-28 | 570.67
2006-07-29 | 569.9
2006-07-30 | 569.04
2006-07-31 | 568.24
2006-08-01 | 567.43
2006-08-02 | 566.56
2006-08-03 | 565.76
2006-08-04 | 564.72
2006-08-05 | 563.77
2006-08-06 | 562.5
2006-08-07 | 561.22
2006-08-08 | 559.94
2006-08-09 | 558.68
2006-08-10 | 557.51
2006-08-11 | 556.36
2006-08-12 | 555.46
2006-08-13 | 554.14
2006-08-14 | 552.92
2006-08-15 | 551.52
2006-08-16 | 549.96
2006-08-17 | 548.92
2006-08-18 | 547.69
2006-08-19 | 546.5
2006-08-20 | 545.37
2006-08-21 | 544.07
2006-08-22 | 542.33
2006-08-23 | 541.11
2006-08-24 | 539.52
2006-08-25 | 538.36
2006-08-26 | 537.22
2006-08-27 | 536.17
2006-08-28 | 535.06
2006-08-29 | 533.79
2006-08-30 | 532.68
2006-08-31 | 531.68
2006-09-01 | 530.79
2006-09-02 | 530.36
2006-09-03 | 529.78
2006-09-04 | 529.22
2006-09-05 | 528.49
2006-09-06 | 527.82
2006-09-07 | 526.95
2006-09-08 | 526.07
2006-09-09 | 525.64
2006-09-10 | 524.82
2006-09-11 | 524.41
2006-09-12 | 523.63
2006-09-13 | 522.93
2006-09-14 | 521.9
2006-09-15 | 521.42
2006-09-16 | 521.21
2006-09-17 | 520.9
2006-09-18 | 520.25
2006-09-19 | 519.56
2006-09-20 | 518.36
2006-09-21 | 517.29
2006-09-22 | 516.4
2006-09-23 | 515.57
2006-09-24 | 514.53
2006-09-25 | 513.32
2006-09-26 | 512.09
2006-09-27 | 510.85
2006-09-28 | 509.63
2006-09-29 | 508.69
2006-09-30 | 508.08
2006-10-01 | 507.48
2006-10-02 | 507.1
2006-10-03 | 507.06
2006-10-04 | 506.94
2006-10-05 | 506.83
2006-10-06 | 506.77
2006-10-07 | 506.82
2006-10-08 | 506.79
2006-10-09 | 506.76
2006-10-10 | 506.7
2006-10-11 | 506.76
2006-10-12 | 506.64
2006-10-13 | 506.77
2006-10-14 | 506.92
2006-10-15 | 507.14
2006-10-16 | 507.26
2006-10-17 | 507.5
2006-10-18 | 507.7
2006-10-19 | 507.81
2006-10-20 | 508.14
2006-10-21 | 508.65
2006-10-22 | 508.79
2006-10-23 | 509.33
2006-10-24 | 509.45
2006-10-25 | 509.28
2006-10-26 | 509.02
2006-10-27 | 508.48
2006-10-28 | 508.45
2006-10-29 | 508.41
2006-10-30 | 508.36
2006-10-31 | 508.4
2006-11-01 | 508.29
2006-11-02 | 508.3
2006-11-03 | 508.02
2006-11-04 | 507.79
2006-11-05 | 507.68
2006-11-06 | 507.71
2006-11-07 | 507.58
2006-11-08 | 507.44
2006-11-09 | 507.6
2006-11-10 | 507.95
2006-11-11 | 508.23
2006-11-12 | 508.4
2006-11-13 | 509.01
2006-11-14 | 509.93
2006-11-15 | 511.15
2006-11-16 | 511.96
2006-11-17 | 512.3
2006-11-18 | 512.28
2006-11-19 | 512.24
2006-11-20 | 512.21
2006-11-21 | 512.1
2006-11-22 | 512.04
2006-11-23 | 511.94
2006-11-24 | 511.92
2006-11-25 | 511.97
2006-11-26 | 511.98
2006-11-27 | 512.08
2006-11-28 | 512.03
2006-11-29 | 511.97
2006-11-30 | 512.08
2006-12-01 | 512.13
2006-12-02 | 512.17
2006-12-03 | 512.24
2006-12-04 | 512.21
2006-12-05 | 512.22
2006-12-06 | 512.25
2006-12-07 | 512.12
2006-12-08 | 512.29
2006-12-09 | 512.37
2006-12-10 | 512.18
2006-12-11 | 511.92
2006-12-12 | 511.62
2006-12-13 | 511.3
2006-12-14 | 511.08
2006-12-15 | 510.91
2006-12-16 | 510.71
2006-12-17 | 510.52
2006-12-18 | 510.37
2006-12-19 | 510.12
2006-12-20 | 509.88
2006-12-21 | 509.69
2006-12-22 | 509.65
2006-12-23 | 509.53
2006-12-24 | 509.6
2006-12-25 | 509.62
2006-12-26 | 509.63
2006-12-27 | 509.93
2006-12-28 | 510.11
2006-12-29 | 510.2
2006-12-30 | 510.42
2006-12-31 | 510.65
2007-01-01 | 510.92
2007-01-02 | 511.02
2007-01-03 | 511.19
2007-01-04 | 511.33
2007-01-05 | 511.57
2007-01-06 | 511.76
2007-01-07 | 511.87
2007-01-08 | 512.01
2007-01-09 | 512.08
2007-01-10 | 512.07
2007-01-11 | 511.93
2007-01-12 | 511.91
2007-01-13 | 511.69
2007-01-14 | 511.53
2007-01-15 | 511.15
2007-01-16 | 510.65
2007-01-17 | 510.4
2007-01-18 | 509.93
2007-01-19 | 509.67
2007-01-20 | 509.31
2007-01-21 | 508.95
2007-01-22 | 508.59
2007-01-23 | 508.12
2007-01-24 | 508.09
2007-01-25 | 508.02
2007-01-26 | 507.9
2007-01-27 | 507.95
2007-01-28 | 507.89
2007-01-29 | 507.75
2007-01-30 | 507.46
2007-01-31 | 507.19
2007-02-01 | 506.92
2007-02-02 | 506.8
2007-02-03 | 506.72
2007-02-04 | 506.35
2007-02-05 | 505.55
2007-02-06 | 504.79
2007-02-07 | 504.14
2007-02-08 | 503.44
2007-02-09 | 502.82
2007-02-10 | 502.26
2007-02-11 | 501.9
2007-02-12 | 501.42
2007-02-13 | 500.85
2007-02-14 | 500.45
2007-02-15 | 500.12
2007-02-16 | 499.8
2007-02-17 | 499.5
2007-02-18 | 499.17
2007-02-19 | 498.81
2007-02-20 | 498.38
2007-02-21 | 497.88
2007-02-22 | 497.43
2007-02-23 | 497
2007-02-24 | 496.89
2007-02-25 | 496.71
2007-02-26 | 496.62
2007-02-27 | 497.06
2007-02-28 | 497.68
2007-03-01 | 498.19
2007-03-02 | 498.82
2007-03-03 | 499.35
2007-03-04 | 500
2007-03-05 | 500.67
2007-03-06 | 501.35
2007-03-07 | 501.65
2007-03-08 | 502.12
2007-03-09 | 502.72
2007-03-10 | 503.47
2007-03-11 | 504.12
2007-03-12 | 504.43
2007-03-13 | 504.7
2007-03-14 | 505.13
2007-03-15 | 505.8
2007-03-16 | 506.5
2007-03-17 | 507.24
2007-03-18 | 507.94
2007-03-19 | 508.13
2007-03-20 | 508.04
2007-03-21 | 508.07
2007-03-22 | 508.33
2007-03-23 | 508.55
2007-03-24 | 508.62
2007-03-25 | 508.75
2007-03-26 | 509.05
2007-03-27 | 509.26
2007-03-28 | 509.49
2007-03-29 | 509.63
2007-03-30 | 509.79
2007-03-31 | 509.98
2007-04-01 | 510.93
2007-04-02 | 511.75
2007-04-03 | 512.51
2007-04-04 | 513.04
2007-04-05 | 513.7
2007-04-06 | 513.8
2007-04-07 | 514.63
2007-04-08 | 515.35
2007-04-09 | 515.87
2007-04-10 | 515.98
2007-04-11 | 516.28
2007-04-12 | 516.49
2007-04-13 | 516.87
2007-04-14 | 517.43
2007-04-15 | 517.55
2007-04-16 | 517.93
2007-04-17 | 518.52
2007-04-18 | 519.06
2007-04-19 | 519.67
2007-04-20 | 520.36
2007-04-21 | 521.11
2007-04-22 | 521.81
2007-04-23 | 522.21
2007-04-24 | 522.24
2007-04-25 | 522.6
2007-04-26 | 522.99
2007-04-27 | 523.31
2007-04-28 | 523.65
2007-04-29 | 524.07
2007-04-30 | 524.47
2007-05-01 | 525.05
2007-05-02 | 525.64
2007-05-03 | 526.02
2007-05-04 | 526.59
2007-05-05 | 527.13
2007-05-06 | 527.74
2007-05-07 | 528.19
2007-05-08 | 528.65
2007-05-09 | 528.85
2007-05-10 | 529.21
2007-05-11 | 528.82
2007-05-12 | 528.28
2007-05-13 | 528.61
2007-05-14 | 529.04
2007-05-15 | 529.45
2007-05-16 | 529.91
2007-05-17 | 530.48
2007-05-18 | 531.01
2007-05-19 | 532.02
2007-05-20 | 532.7
2007-05-21 | 533.33
2007-05-22 | 534
2007-05-23 | 534.66
2007-05-24 | 535.13
2007-05-25 | 535.85
2007-05-26 | 536.4
2007-05-27 | 537.07
2007-05-28 | 537.66
2007-05-29 | 537.87
2007-05-30 | 538.2
2007-05-31 | 538.6
2007-06-01 | 538.34
2007-06-02 | 537.99
2007-06-03 | 537.49
2007-06-04 | 537.25
2007-06-05 | 537.17
2007-06-06 | 536.97
2007-06-07 | 536.54
2007-06-08 | 536.18
2007-06-09 | 536.19
2007-06-10 | 536.08
2007-06-11 | 535.78
2007-06-12 | 535.45
2007-06-13 | 535.2
2007-06-14 | 534.96
2007-06-15 | 534.65
2007-06-16 | 534.51
2007-06-17 | 534.51
2007-06-18 | 534.05
2007-06-19 | 533.52
2007-06-20 | 532.87
2007-06-21 | 532.2
2007-06-22 | 531.55
2007-06-23 | 531.33
2007-06-24 | 530.74
2007-06-25 | 529.97
2007-06-26 | 529.15
2007-06-27 | 528.14
2007-06-28 | 527.38
2007-06-29 | 526.65
2007-06-30 | 525.95
2007-07-01 | 525.17
2007-07-02 | 524.27
2007-07-03 | 523.25
2007-07-04 | 522.08
2007-07-05 | 521.02
2007-07-06 | 520.12
2007-07-07 | 519.57
2007-07-08 | 518.43
2007-07-09 | 517.34
2007-07-10 | 516.16
2007-07-11 | 514.8
2007-07-12 | 513.63
2007-07-13 | 512.57
2007-07-14 | 511.78
2007-07-15 | 511
2007-07-16 | 510.52
2007-07-17 | 510.12
2007-07-18 | 509.75
2007-07-19 | 509.29
2007-07-20 | 508.78
2007-07-21 | 508.1
2007-07-22 | 507.64
2007-07-23 | 507.18
2007-07-24 | 506.61
2007-07-25 | 506.38
2007-07-26 | 505.66
2007-07-27 | 505.4
2007-07-28 | 505.19
2007-07-29 | 504.52
2007-07-30 | 503.92
2007-07-31 | 503.43
2007-08-01 | 502.98
2007-08-02 | 502.65
2007-08-03 | 502.61
2007-08-04 | 502.67
2007-08-05 | 502.39
2007-08-06 | 502.09
2007-08-07 | 501.25
2007-08-08 | 500.67
2007-08-09 | 499.9
2007-08-10 | 499.4
2007-08-11 | 499.2
2007-08-12 | 498.58
2007-08-13 | 498.08
2007-08-14 | 497.38
2007-08-15 | 496.88
2007-08-16 | 496.35
2007-08-17 | 496
2007-08-18 | 495.64
2007-08-19 | 495.38
2007-08-20 | 494.55
2007-08-21 | 493.89
2007-08-22 | 493.3
2007-08-23 | 493.1
2007-08-24 | 492.7
2007-08-25 | 492.39
2007-08-26 | 492.12
2007-08-27 | 491.64
2007-08-28 | 491.11
2007-08-29 | 490.6
2007-08-30 | 489.9
2007-08-31 | 489.61
2007-09-01 | 489.08
2007-09-02 | 488.54
2007-09-03 | 487.9
2007-09-04 | 487.44
2007-09-05 | 487.34
2007-09-06 | 487.17
2007-09-07 | 487.43
2007-09-08 | 487.66
2007-09-09 | 487.94
2007-09-10 | 488.1
2007-09-11 | 488.16
2007-09-12 | 488.2
2007-09-13 | 488.48
2007-09-14 | 488.8
2007-09-15 | 488.95
2007-09-16 | 489.3
2007-09-17 | 489.7
2007-09-18 | 490.2
2007-09-19 | 490.55
2007-09-20 | 491.1
2007-09-21 | 491.71
2007-09-22 | 492.43
2007-09-23 | 492.92
2007-09-24 | 493.65
2007-09-25 | 494.02
2007-09-26 | 494.4
2007-09-27 | 494.45
2007-09-28 | 494.65
2007-09-29 | 494.78
2007-09-30 | 494.64
2007-10-01 | 494.26
2007-10-02 | 493.79
2007-10-03 | 493.27
2007-10-04 | 492.85
2007-10-05 | 492.43
2007-10-06 | 492.06
2007-10-07 | 491.62
2007-10-08 | 491.13
2007-10-09 | 490.62
2007-10-10 | 490.2
2007-10-11 | 489.76
2007-10-12 | 489.34
2007-10-13 | 488.95
2007-10-14 | 488.55
2007-10-15 | 488.13
2007-10-16 | 487.8
2007-10-17 | 487.35
2007-10-18 | 487.05
2007-10-19 | 486.75
2007-10-20 | 486.59
2007-10-21 | 486.38
2007-10-22 | 486.49
2007-10-23 | 486.17
2007-10-24 | 485.84
2007-10-25 | 485.49
2007-10-26 | 485.2
2007-10-27 | 484.97
2007-10-28 | 484.67
2007-10-29 | 484.37
2007-10-30 | 484.04
2007-10-31 | 483.66
2007-11-01 | 483.46
2007-11-02 | 483.15
2007-11-03 | 482.86
2007-11-04 | 482.56
2007-11-05 | 482.24
2007-11-06 | 481.86
2007-11-07 | 481.54
2007-11-08 | 481.23
2007-11-09 | 480.92
2007-11-10 | 480.66
2007-11-11 | 480.45
2007-11-12 | 480.25
2007-11-13 | 480.1
2007-11-14 | 480.04
2007-11-15 | 479.99
2007-11-16 | 479.88
2007-11-17 | 479.82
2007-11-18 | 479.73
2007-11-19 | 479.62
2007-11-20 | 479.52
2007-11-21 | 479.55
2007-11-22 | 479.45
2007-11-23 | 479.36
2007-11-24 | 479.26
2007-11-25 | 479.17
2007-11-26 | 479.09
2007-11-27 | 479
2007-11-28 | 478.96
2007-11-29 | 479.06
2007-11-30 | 479.22
2007-12-01 | 479.5
2007-12-02 | 479.7
2007-12-03 | 479.95
2007-12-04 | 480.07
2007-12-05 | 480.32
2007-12-06 | 480.56
2007-12-07 | 480.77
2007-12-08 | 481.03
2007-12-09 | 481.16
2007-12-10 | 481.42
2007-12-11 | 481.65
2007-12-12 | 482.18
2007-12-13 | 482.54
2007-12-14 | 482.95
2007-12-15 | 483.19
2007-12-16 | 483.53
2007-12-17 | 483.7
2007-12-18 | 484.08
2007-12-19 | 484.47
2007-12-20 | 484.82
2007-12-21 | 485.04
2007-12-22 | 485.46
2007-12-23 | 485.74
2007-12-24 | 485.93
2007-12-25 | 486.09
2007-12-26 | 486.3
2007-12-27 | 486.65
2007-12-28 | 486.87
2007-12-29 | 487.07
2007-12-30 | 487.26
2007-12-31 | 487.46
2008-01-01 | 487.72
2008-01-02 | 488.1
2008-01-03 | 489.31
2008-01-04 | 490.59
2008-01-05 | 493.17
2008-01-06 | 494.2
2008-01-07 | 494.55
2008-01-08 | 494.89
2008-01-09 | 495.16
2008-01-10 | 495.48
2008-01-11 | 495.78
2008-01-12 | 496.05
2008-01-13 | 496.35
2008-01-14 | 496.57
2008-01-15 | 496.81
2008-01-16 | 497.07
2008-01-17 | 497.43
2008-01-18 | 497.68
2008-01-19 | 497.87
2008-01-20 | 498.25
2008-01-21 | 498.5
2008-01-22 | 498.77
2008-01-23 | 499.05
2008-01-24 | 499.09
2008-01-25 | 499.22
2008-01-26 | 499.18
2008-01-27 | 499.33
2008-01-28 | 499.77
2008-01-29 | 500.17
2008-01-30 | 500.56
2008-01-31 | 500.76
2008-02-01 | 500.88
2008-02-02 | 500.97
2008-02-03 | 501.97
2008-02-04 | 502.61
2008-02-05 | 502.9
2008-02-06 | 503.06
2008-02-07 | 503.11
2008-02-08 | 503.21
2008-02-09 | 503.37
2008-02-10 | 503.6
2008-02-11 | 503.74
2008-02-12 | 503.88
2008-02-13 | 504.42
2008-02-14 | 505.03
2008-02-15 | 505.65
2008-02-16 | 506.3
2008-02-17 | 506.85
2008-02-18 | 507.25
2008-02-19 | 507.67
2008-02-20 | 508.08
2008-02-21 | 508.63
2008-02-22 | 509.11
2008-02-23 | 509.97
2008-02-24 | 511.44
2008-02-25 | 512.66
2008-02-26 | 513.67
2008-02-27 | 514.17
2008-02-28 | 514.76
2008-02-29 | 515.33
2008-03-01 | 515.74
2008-03-02 | 516.15
2008-03-03 | 516.65
2008-03-04 | 516.94
2008-03-05 | 517.38
2008-03-06 | 517.8
2008-03-07 | 518.1
2008-03-08 | 518.5
2008-03-09 | 519.03
2008-03-10 | 519.58
2008-03-11 | 519.95
2008-03-12 | 520.29
2008-03-13 | 520.73
2008-03-14 | 520.99
2008-03-15 | 521.33
2008-03-16 | 521.53
2008-03-17 | 521.63
2008-03-18 | 521.69
2008-03-19 | 521.63
2008-03-20 | 521.65
2008-03-21 | 521.84
2008-03-22 | 522.17
2008-03-23 | 522.6
2008-03-24 | 522.65
2008-03-25 | 522.38
2008-03-26 | 522.34
2008-03-27 | 522.11
2008-03-28 | 521.96
2008-03-29 | 521.93
2008-03-30 | 521.8
2008-03-31 | 521.61
2008-04-01 | 521.68
2008-04-02 | 521.5
2008-04-03 | 521.82
2008-04-04 | 522.11
2008-04-05 | 522.13
2008-04-06 | 522.1
2008-04-07 | 522.2
2008-04-08 | 521.93
2008-04-09 | 521.6
2008-04-10 | 521.25
2008-04-11 | 520.92
2008-04-12 | 520.67
2008-04-13 | 520.43
2008-04-14 | 520.01
2008-04-15 | 519.72
2008-04-16 | 519.21
2008-04-17 | 518.66
2008-04-18 | 518.16
2008-04-19 | 517.62
2008-04-20 | 517.1
2008-04-21 | 516.72
2008-04-22 | 516.35
2008-04-23 | 515.82
2008-04-24 | 515.54
2008-04-25 | 515.09
2008-04-26 | 514.86
2008-04-27 | 514.57
2008-04-28 | 514.23
2008-04-29 | 513.75
2008-04-30 | 513.46
2008-05-01 | 514.2
2008-05-02 | 515.18
2008-05-03 | 516.28
2008-05-04 | 517.6
2008-05-05 | 518.9
2008-05-06 | 520
2008-05-07 | 521.02
2008-05-08 | 522.68
2008-05-09 | 524.18
2008-05-10 | 525.9
2008-05-11 | 527.37
2008-05-12 | 529
2008-05-13 | 530.56
2008-05-14 | 531.25
2008-05-15 | 532.5
2008-05-16 | 534.35
2008-05-17 | 537.07
2008-05-18 | 539.5
2008-05-19 | 541.64
2008-05-20 | 543.68
2008-05-21 | 545.53
2008-05-22 | 546.8
2008-05-23 | 547.84
2008-05-24 | 548.62
2008-05-25 | 549
2008-05-26 | 549.48
2008-05-27 | 550.08
2008-05-28 | 550.7
2008-05-29 | 551.39
2008-05-30 | 551.95
2008-05-31 | 552.38
2008-06-01 | 552.78
2008-06-02 | 553.1
2008-06-03 | 553.39
2008-06-04 | 553.43
2008-06-05 | 553.17
2008-06-06 | 552.93
2008-06-07 | 552.83
2008-06-08 | 552.89
2008-06-09 | 552.4
2008-06-10 | 552
2008-06-11 | 551.72
2008-06-12 | 551.25
2008-06-13 | 550.92
2008-06-14 | 550.63
2008-06-15 | 550.43
2008-06-16 | 550
2008-06-17 | 549.26
2008-06-18 | 548.42
2008-06-19 | 547.66
2008-06-20 | 546.8
2008-06-21 | 546
2008-06-22 | 545.03
2008-06-23 | 543.85
2008-06-24 | 542.4
2008-06-25 | 541.15
2008-06-26 | 539.59
2008-06-27 | 538.32
2008-06-28 | 537.17
2008-06-29 | 535.95
2008-06-30 | 534.77
2008-07-01 | 533.69
2008-07-02 | 532.6
2008-07-03 | 531.48
2008-07-04 | 530.38
2008-07-05 | 529.66
2008-07-06 | 528.66
2008-07-07 | 527.69
2008-07-08 | 526.36
2008-07-09 | 524.84
2008-07-10 | 523.41
2008-07-11 | 522.24
2008-07-12 | 520.94
2008-07-13 | 520
2008-07-14 | 518.83
2008-07-15 | 517.63
2008-07-16 | 516.53
2008-07-17 | 515.51
2008-07-18 | 514.56
2008-07-19 | 513.8
2008-07-20 | 512.9
2008-07-21 | 511.67
2008-07-22 | 510.5
2008-07-23 | 509.35
2008-07-24 | 507.04
2008-07-25 | 505.77
2008-07-26 | 504.77
2008-07-27 | 503.84
2008-07-28 | 503.1
2008-07-29 | 501.89
2008-07-30 | 500.78
2008-07-31 | 499.79
2008-08-01 | 499.23
2008-08-02 | 498.6
2008-08-03 | 498.16
2008-08-04 | 497.9
2008-08-05 | 497.7
2008-08-06 | 497.43
2008-08-07 | 497.2
2008-08-08 | 496.97
2008-08-09 | 496.91
2008-08-10 | 497.18
2008-08-11 | 497.5
2008-08-12 | 497.84
2008-08-13 | 498.16
2008-08-14 | 498.67
2008-08-15 | 499.21
2008-08-16 | 499.74
2008-08-17 | 500.3
2008-08-18 | 501
2008-08-19 | 500.75
2008-08-20 | 500.59
2008-08-21 | 500.85
2008-08-22 | 500.99
2008-08-23 | 501.35
2008-08-24 | 501.68
2008-08-25 | 502
2008-08-26 | 502.39
2008-08-27 | 502.55
2008-08-28 | 502.81
2008-08-29 | 502.98
2008-08-30 | 503.41
2008-08-31 | 504.04
2008-09-01 | 503.84
2008-09-02 | 503.34
2008-09-03 | 502.88
2008-09-04 | 502.38
2008-09-05 | 502
2008-09-06 | 501.63
2008-09-07 | 501.26
2008-09-08 | 500.85
2008-09-09 | 500.39
2008-09-10 | 499.86
2008-09-11 | 499.35
2008-09-12 | 498.86
2008-09-13 | 498.55
2008-09-14 | 498.3
2008-09-15 | 498
2008-09-16 | 497.6
2008-09-17 | 497.2
2008-09-18 | 496.68
2008-09-19 | 496.42
2008-09-20 | 496.19
2008-09-21 | 495.95
2008-09-22 | 495.76
2008-09-23 | 495.5
2008-09-24 | 495.19
2008-09-25 | 494.85
2008-09-26 | 494.56
2008-09-27 | 494.46
2008-09-28 | 494.47
2008-09-29 | 494.4
2008-09-30 | 494.1
2008-10-01 | 493.71
2008-10-02 | 493.39
2008-10-03 | 493.17
2008-10-04 | 493.04
2008-10-05 | 492.88
2008-10-06 | 492.74
2008-10-07 | 492.54
2008-10-08 | 492.28
2008-10-09 | 491.89
2008-10-10 | 491.98
2008-10-11 | 491.9
2008-10-12 | 491.81
2008-10-13 | 491.66
2008-10-14 | 491.48
2008-10-15 | 490.9
2008-10-16 | 490.35
2008-10-17 | 489.82
2008-10-18 | 489.38
2008-10-19 | 489
2008-10-20 | 488.45
2008-10-21 | 487.86
2008-10-22 | 487.25
2008-10-23 | 486.64
2008-10-24 | 486.17
2008-10-25 | 485.78
2008-10-26 | 485.4
2008-10-27 | 484.94
2008-10-28 | 484.42
2008-10-29 | 483.9
2008-10-30 | 483.41
2008-10-31 | 483.05
2008-11-01 | 482.8
2008-11-02 | 482.57
2008-11-03 | 482.35
2008-11-04 | 482.55
2008-11-05 | 482.54
2008-11-06 | 482.37
2008-11-07 | 482.22
2008-11-08 | 482.1
2008-11-09 | 482.42
2008-11-10 | 482.82
2008-11-11 | 483.24
2008-11-12 | 483.43
2008-11-13 | 483.72
2008-11-14 | 484.08
2008-11-15 | 484.33
2008-11-16 | 484.59
2008-11-17 | 484.8
2008-11-18 | 484.87
2008-11-19 | 484.93
2008-11-20 | 485.02
2008-11-21 | 485.14
2008-11-22 | 485.21
2008-11-23 | 485.3
2008-11-24 | 485.5
2008-11-25 | 485.77
2008-11-26 | 486.07
2008-11-27 | 486.36
2008-11-28 | 486.7
2008-11-29 | 486.93
2008-11-30 | 487.12
2008-12-01 | 487.25
2008-12-02 | 487.42
2008-12-03 | 487.68
2008-12-04 | 487.87
2008-12-05 | 488.06
2008-12-06 | 488.24
2008-12-07 | 488.4
2008-12-08 | 488.56
2008-12-09 | 488.86
2008-12-10 | 489.09
2008-12-11 | 489.27
2008-12-12 | 489.62
2008-12-13 | 489.8
2008-12-14 | 490
2008-12-15 | 490.23
2008-12-16 | 490.63
2008-12-17 | 490.71
2008-12-18 | 490.85
2008-12-19 | 490.94
2008-12-20 | 491.02
2008-12-21 | 491.09
2008-12-22 | 491.16
2008-12-23 | 491.21
2008-12-24 | 491.24
2008-12-25 | 491.4
2008-12-26 | 491.54
2008-12-27 | 491.69
2008-12-28 | 491.89
2008-12-29 | 492.04
2008-12-30 | 492.22
2008-12-31 | 492.38
2009-01-01 | 492.54
2009-01-02 | 492.63
2009-01-03 | 492.75
2009-01-04 | 492.91
2009-01-05 | 493.02
2009-01-06 | 493.16
2009-01-07 | 493.25
2009-01-08 | 493.29
2009-01-09 | 493.32
2009-01-10 | 493.4
2009-01-11 | 493.46
2009-01-12 | 493.48
2009-01-13 | 493.57
2009-01-14 | 493.61
2009-01-15 | 493.64
2009-01-16 | 493.89
2009-01-17 | 494.32
2009-01-18 | 494.98
2009-01-19 | 495.5
2009-01-20 | 496.09
2009-01-21 | 496.48
2009-01-22 | 496.81
2009-01-23 | 496.82
2009-01-24 | 498.26
2009-01-25 | 498.73
2009-01-26 | 500.56
2009-01-27 | 501.3
2009-01-28 | 502.02
2009-01-29 | 502.76
2009-01-30 | 503.52
2009-01-31 | 504.32
2009-02-01 | 504.67
2009-02-02 | 505.3
2009-02-03 | 506
2009-02-04 | 506.64
2009-02-05 | 507.4
2009-02-06 | 508.3
2009-02-07 | 508.98
2009-02-08 | 509.67
2009-02-09 | 510.51
2009-02-10 | 511.29
2009-02-11 | 512.1
2009-02-12 | 512.75
2009-02-13 | 513.72
2009-02-14 | 514.48
2009-02-15 | 515.43
2009-02-16 | 516.59
2009-02-17 | 517.82
2009-02-18 | 518.71
2009-02-19 | 519.62
2009-02-20 | 520.02
2009-02-21 | 520.96
2009-02-22 | 521.82
2009-02-23 | 522.24
2009-02-24 | 522.93
2009-02-25 | 523.07
2009-02-26 | 523.71
2009-02-27 | 524.76
2009-02-28 | 525.44
2009-03-01 | 526.05
2009-03-02 | 527.14
2009-03-03 | 528.16
2009-03-04 | 529.15
2009-03-05 | 530.17
2009-03-06 | 531
2009-03-07 | 532.01
2009-03-08 | 532.92
2009-03-09 | 533.87
2009-03-10 | 534.9
2009-03-11 | 536.36
2009-03-12 | 537.92
2009-03-13 | 539.27
2009-03-14 | 539.8
2009-03-15 | 540.13
2009-03-16 | 540.82
2009-03-17 | 541.38
2009-03-18 | 541.75
2009-03-19 | 542.14
2009-03-20 | 542.54
2009-03-21 | 542.9
2009-03-22 | 543.72
2009-03-23 | 544.59
2009-03-24 | 545.25
2009-03-25 | 545.83
2009-03-26 | 546.56
2009-03-27 | 547.24
2009-03-28 | 547.97
2009-03-29 | 548.52
2009-03-30 | 548.9
2009-03-31 | 549.38
2009-04-01 | 549.77
2009-04-02 | 550
2009-04-03 | 550.7
2009-04-04 | 551.44
2009-04-05 | 552.02
2009-04-06 | 552.17
2009-04-07 | 552.69
2009-04-08 | 552.97
2009-04-09 | 553.62
2009-04-10 | 554.08
2009-04-11 | 554.26
2009-04-12 | 554.55
2009-04-13 | 554.94
2009-04-14 | 555.23
2009-04-15 | 555.5
2009-04-16 | 555.87
2009-04-17 | 556.32
2009-04-18 | 556.65
2009-04-19 | 557.07
2009-04-20 | 558.13
2009-04-21 | 560.06
2009-04-22 | 562
2009-04-23 | 564.12
2009-04-24 | 566
2009-04-25 | 567.51
2009-04-26 | 568.51
2009-04-27 | 569.57
2009-04-28 | 570.32
2009-04-29 | 570.65
2009-04-30 | 570.82
2009-05-01 | 571.03
2009-05-02 | 572.75
2009-05-03 | 574.57
2009-05-04 | 575.43
2009-05-05 | 575.39
2009-05-06 | 574.97
2009-05-07 | 574.58
2009-05-08 | 574.45
2009-05-09 | 574.31
2009-05-10 | 574.5
2009-05-11 | 574.68
2009-05-12 | 574.89
2009-05-13 | 575.08
2009-05-14 | 574.9
2009-05-15 | 574.8
2009-05-16 | 574.95
2009-05-17 | 575.36
2009-05-18 | 575.82
2009-05-19 | 576.12
2009-05-20 | 576.09
2009-05-21 | 576.03
2009-05-22 | 575.79
2009-05-23 | 575.68
2009-05-24 | 575.86
2009-05-25 | 575.74
2009-05-26 | 575.85
2009-05-27 | 576.43
2009-05-28 | 576.62
2009-05-29 | 576.79
2009-05-30 | 577.13
2009-05-31 | 577.5
2009-06-01 | 577.95
2009-06-02 | 578.2
2009-06-03 | 578.11
2009-06-04 | 578.13
2009-06-05 | 578.22
2009-06-06 | 578.24
2009-06-07 | 578.2
2009-06-08 | 578.26
2009-06-09 | 578.37
2009-06-10 | 578.2
2009-06-11 | 577.81
2009-06-12 | 577.39
2009-06-13 | 577.18
2009-06-14 | 577.18
2009-06-15 | 577.2
2009-06-16 | 577.11
2009-06-17 | 576.99
2009-06-18 | 577.01
2009-06-19 | 577.12
2009-06-20 | 577.32
2009-06-21 | 577.38
2009-06-22 | 577.47
2009-06-23 | 577.77
2009-06-24 | 577.9
2009-06-25 | 577.99
2009-06-26 | 577.99
2009-06-27 | 578.05
2009-06-28 | 578.02
2009-06-29 | 577.92
2009-06-30 | 577.9
2009-07-01 | 577.87
2009-07-02 | 577.93
2009-07-03 | 578.04
2009-07-04 | 578.26
2009-07-05 | 578.45
2009-07-06 | 578.42
2009-07-07 | 578.41
2009-07-08 | 578.48
2009-07-09 | 578.49
2009-07-10 | 577.85
2009-07-11 | 577.13
2009-07-12 | 576.3
2009-07-13 | 575.49
2009-07-14 | 574.55
2009-07-15 | 573.76
2009-07-16 | 572.53
2009-07-17 | 571.82
2009-07-18 | 571.07
2009-07-19 | 570.27
2009-07-20 | 569.42
2009-07-21 | 568.88
2009-07-22 | 567.37
2009-07-23 | 566.38
2009-07-24 | 565.53
2009-07-25 | 564.66
2009-07-26 | 563.86
2009-07-27 | 562.99
2009-07-28 | 561.98
2009-07-29 | 560.63
2009-07-30 | 559.52
2009-07-31 | 558.55
2009-08-01 | 557.5
2009-08-02 | 556.44
2009-08-03 | 555.38
2009-08-04 | 554.47
2009-08-05 | 553.55
2009-08-06 | 552.32
2009-08-07 | 551.35
2009-08-08 | 550.58
2009-08-09 | 549.77
2009-08-10 | 548.94
2009-08-11 | 547.93
2009-08-12 | 547.05
2009-08-13 | 546.22
2009-08-14 | 545.07
2009-08-15 | 544.1
2009-08-16 | 543.07
2009-08-17 | 542.27
2009-08-18 | 541.58
2009-08-19 | 540.95
2009-08-20 | 540.53
2009-08-21 | 540.12
2009-08-22 | 539.81
2009-08-23 | 539.65
2009-08-24 | 539.73
2009-08-25 | 539.59
2009-08-26 | 539.31
2009-08-27 | 539.22
2009-08-28 | 539.4
2009-08-29 | 539.62
2009-08-30 | 539.58
2009-08-31 | 539.48
2009-09-01 | 539.59
2009-09-02 | 539.64
2009-09-03 | 539.37
2009-09-04 | 539.52
2009-09-05 | 539.62
2009-09-06 | 539.91
2009-09-07 | 539.75
2009-09-08 | 539.61
2009-09-09 | 539.64
2009-09-10 | 539.53
2009-09-11 | 539.53
2009-09-12 | 539.54
2009-09-13 | 539.52
2009-09-14 | 539.51
2009-09-15 | 539.62
2009-09-16 | 539.53
2009-09-17 | 539.46
2009-09-18 | 539.49
2009-09-19 | 539.58
2009-09-20 | 539.66
2009-09-21 | 539.69
2009-09-22 | 539.67
2009-09-23 | 539.58
2009-09-24 | --
Station ID | Sensor Number | Duration Code | Start date | End date
M D H E