## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-02-11 | 14:34
Report from file: | ...\SN32034 2003-07-15 054943 foh0411.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.39
Unit name: | Troll 9000
Test name: |  | foh0411
Test defined on: | 2003-07-15 | 5:50
Test started on: | 2003-07-15 | 5:50
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 27
TOTAL DATA SAMPLES | 27
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [31]
Measurement type: | pH
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 507.11
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[25] | Chan[31] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | Clark DO | pH | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | micrograms/L | pH | microSiemens/cm Actual Conductivity
??? | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2004-11-16 | 5:50 | 30 | 506.717 | 60.76 | 0.393 | 29.51 | 2.551 | 11303 | 6.77 | 30
2004-11-16 | 5:51 | 101 | 504.1 | 60.37 | 3.01 | 29.469 | 2.473 | 11268 | 6.84 | 29.95
2004-11-16 | 5:52 | 139 | 500.827 | 60.15 | 6.283 | 29.492 | 2.551 | 11282 | 6.85 | 29.88
2004-11-16 | 5:53 | 185 | 498.189 | 60 | 8.921 | 29.508 | 2.473 | 11185 | 6.84 | 29.81
2004-11-16 | 5:55 | 328 | 495.136 | 59.9 | 11.974 | 29.517 | 2.551 | 9379 | 6.88 | 29.71
2004-11-16 | 5:56 | 378 | 491.008 | 59.89 | 16.102 | 29.522 | 2.551 | 9193 | 6.87 | 29.66
2004-11-16 | 5:57 | 446 | 488.097 | 59.88 | 19.013 | 29.526 | 2.551 | 9162 | 6.86 | 29.63
2004-11-16 | 5:58 | 484 | 485.042 | 59.86 | 22.068 | 29.529 | 2.551 | 9083 | 6.84 | 29.63
2004-11-16 | 5:58 | 522 | 482.248 | 59.87 | 24.862 | 29.532 | 2.551 | 9060 | 6.83 | 29.61
2004-11-16 | 5:59 | 564 | 479.112 | 59.86 | 27.998 | 29.536 | 2.551 | 9031 | 6.83 | 29.63
2004-11-16 | 6:01 | 657 | 475.154 | 59.85 | 31.956 | 29.542 | 2.551 | 8907 | 6.82 | 29.6
2004-11-16 | 6:02 | 707 | 472.1 | 59.85 | 35.01 | 29.545 | 2.551 | 8951 | 6.81 | 29.58
2004-11-16 | 6:02 | 754 | 469.145 | 59.85 | 37.965 | 29.548 | 2.473 | 8943 | 6.82 | 29.56
2004-11-16 | 6:03 | 796 | 466.207 | 59.84 | 40.903 | 29.552 | 2.551 | 8923 | 6.79 | 29.56
2004-11-16 | 6:04 | 842 | 463.203 | 59.85 | 43.907 | 29.554 | 2.551 | 8875 | 6.76 | 29.53
2004-11-16 | 6:06 | 956 | 460.228 | 59.83 | 46.882 | 29.558 | 2.525 | 8578 | 6.77 | 29.57
2004-11-16 | 6:06 | 998 | 457.172 | 59.79 | 49.938 | 29.56 | 2.473 | 8728 | 6.74 | 29.57
2004-11-16 | 6:08 | 1070 | 453.965 | 59.75 | 53.145 | 29.564 | 2.525 | 8652 | 6.73 | 29.58
2004-11-16 | 6:09 | 1133 | 451.038 | 59.7 | 56.072 | 29.567 | 2.525 | 8651 | 6.67 | 29.48
2004-11-16 | 6:09 | 1179 | 447.997 | 59.67 | 59.113 | 29.57 | 2.525 | 8632 | 6.69 | 29.5
2004-11-16 | 6:10 | 1218 | 445.18 | 59.46 | 61.93 | 29.572 | 2.473 | 8573 | 6.65 | 29.45
2004-11-16 | 6:11 | 1294 | 442.243 | 58.27 | 64.867 | 29.573 | 2.525 | 7961 | 6.43 | 30.05
2004-11-16 | 6:13 | 1424 | 431.936 | 56.96 | 75.174 | 29.585 | 2.525 | 7357 | 6.32 | 30.72
2004-11-16 | 6:16 | 1605 | 421.956 | 56.17 | 85.154 | 29.598 | 2.499 | 8577 | 6.37 | 32.61
2004-11-16 | 6:19 | 1736 | 412.257 | 55.64 | 94.853 | 29.609 | 2.525 | 7636 | 6.28 | 32.74
2004-11-16 | 6:21 | 1897 | 402.128 | 54.64 | 104.982 | 29.619 | 2.525 | 6027 | 5.91 | 27.79
2004-11-16 | 6:23 | 1977 | 396.035 | 53.77 | 111.075 | 29.62 | 2.525 | 3682 | 6.42 | 162.7

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2004-11-17 | 15:12
Report from file: | ...\SN32034 2004-10-22 083809 finegold.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.39
Unit name: | Troll 9000
Test name: |  | finegold
Test defined on: | 2004-10-22 | 8:38
Test started on: | 2004-10-22 | 8:38
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 11
TOTAL DATA SAMPLES | 11
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [31]
Measurement type: | pH
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 507.11
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[25] | Chan[31] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | Clark DO | pH | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | micrograms/L | pH | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2004-11-16 | 8:39 | 67 | 506.576 | 64.57 | 0.534 | 29.494 | 2.629 | 9906 | 6.78 | 32.57 | 64.57
2004-11-16 | 8:41 | 145 | 503.942 | 64.64 | 3.168 | 29.502 | 2.629 | 8981 | 6.81 | 32.66 | 64.64
2004-11-16 | 8:42 | 240 | 500.91 | 64.66 | 6.2 | 29.504 | 2.551 | 8764 | 6.88 | 32.78 | 64.66
2004-11-16 | 8:43 | 296 | 497.925 | 64.68 | 9.185 | 29.507 | 2.629 | 8819 | 6.9 | 32.75 | 64.68
2004-11-16 | 8:44 | 357 | 495.233 | 64.67 | 11.877 | 29.511 | 2.629 | 8836 | 6.9 | 32.8 | 64.67
2004-11-16 | 8:45 | 396 | 492.181 | 64.67 | 14.929 | 29.515 | 2.603 | 8889 | 6.86 | 32.8 | 64.67
2004-11-16 | 8:46 | 461 | 489.076 | 64.64 | 18.034 | 29.517 | 2.577 | 8853 | 6.87 | 32.82 | 64.64
2004-11-16 | 8:46 | 491 | 486.222 | 64.64 | 20.888 | 29.521 | 2.603 | 8883 | 6.88 | 32.77 | 64.64
2004-11-16 | 8:47 | 535 | 483.056 | 64.65 | 24.054 | 29.527 | 2.603 | 8796 | 6.9 | 32.85 | 64.65
2004-11-16 | 8:48 | 596 | 480.103 | 64.63 | 27.007 | 29.529 | 2.629 | 8738 | 6.89 | 32.73 | 64.63
2004-11-16 | 8:49 | 661 | 477.069 | 64.62 | 30.041 | 29.531 | 2.629 | 8763 | 6.9 | 32.82 | 64.62
2004-11-16 | 8:51 | 23 | 474.065 | 64.63 | 33.045 | 29.534 | 2.603 | 8796 | 6.78 | 32.84 | 64.63
2004-11-16 | 8:53 | 97 | 471.062 | 64.56 | 36.048 | 29.536 | 2.629 | 8869 | 6.83 | 32.81 | 64.56
2004-11-16 | 8:54 | 187 | 468.09 | 64.1 | 39.02 | 29.54 | 2.603 | 8717 | 6.75 | 31.99 | 64.1
2004-11-16 | 8:57 | 364 | 465.084 | 64.04 | 42.026 | 29.542 | 2.603 | 8461 | 6.74 | 31.81 | 64.04
2004-11-16 | 8:58 | 442 | 462.079 | 64.03 | 45.031 | 29.544 | 2.551 | 8591 | 6.65 | 31.78 | 64.03
2004-11-16 | 8:59 | 485 | 459.222 | 63.63 | 47.888 | 29.546 | 2.551 | 8657 | 6.61 | 31.51 | 63.63
2004-11-16 | 9:00 | 528 | 456.073 | 63.5 | 51.037 | 29.55 | 2.603 | 8650 | 6.67 | 31.42 | 63.5
2004-11-16 | 9:00 | 542 | 456.085 | 63.47 | 51.025 | 29.549 | 2.629 | 8598 | 6.7 | 31.52 | 63.47
2004-11-16 | 9:02 | 660 | 446.088 | 61.22 | 61.022 | 29.558 | 2.629 | 9014 | 6.56 | 30.35 | 61.22
2004-11-16 | 9:04 | 791 | 435.979 | 57.17 | 71.131 | 29.565 | 2.629 | 5480 | 6.31 | 34.92 | 57.17
2004-11-16 | 9:07 | 974 | 425.958 | 52.42 | 81.152 | 29.576 | 2.629 | 2958 | 6.12 | 38.26 | 52.42
2004-11-16 | 9:09 | 1093 | 416.127 | 50.57 | 90.983 | 29.584 | 2.629 | 2642 | 5.95 | 39.03 | 50.57
2004-11-16 | 9:10 | 1158 | 405.982 | 49.46 | 101.128 | 29.588 | 2.629 | 2577 | 5.98 | 39.43 | 49.46
2004-11-16 | 9:12 | 1236 | 396.062 | 48.93 | 111.048 | 29.602 | 2.603 | 2491 | 6.01 | 40.06 | 48.93
2004-11-16 | 9:13 | 1319 | 386.023 | 48.75 | 121.087 | 29.614 | 2.629 | 2496 | 6 | 39.92 | 48.75
2004-11-16 | 9:14 | 1376 | 376.266 | 48.64 | 130.844 | 29.623 | 2.603 | 2497 | 5.94 | 41.12 | 48.64

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2004-11-17 | 15:23
Report from file: | ...\SN32034 2003-07-16 021310 finegold0411.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.39
Unit name: | Troll 9000
Test name: |  | finegold0411
Test defined on: | 2003-07-16 | 2:13
Test started on: | 2003-07-16 | 2:13
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 27
TOTAL DATA SAMPLES | 27
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [31]
Measurement type: | pH
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 507.11
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[25] | Chan[31] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | Clark DO | pH | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | micrograms/L | pH | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2004-11-16 | 2:14 | 53 | 506.763 | 59.57 | 0.347 | 29.58 | 2.473 | 9676 | 6.91 | 29.43
2004-11-16 | 2:16 | 165 | 504.124 | 59.58 | 2.986 | 29.581 | 2.525 | 9126 | 6.94 | 29.59
2004-11-16 | 2:17 | 240 | 501.258 | 59.56 | 5.852 | 29.588 | 2.473 | 9089 | 7.02 | 29.6
2004-11-16 | 2:19 | 328 | 498.366 | 59.56 | 8.744 | 29.589 | 2.525 | 9071 | 7 | 29.58
2004-11-16 | 2:20 | 386 | 495.144 | 59.53 | 11.966 | 29.596 | 2.525 | 9123 | 7.04 | 29.57
2004-11-16 | 2:20 | 420 | 492.021 | 59.54 | 15.089 | 29.599 | 2.525 | 9118 | 7.03 | 29.59
2004-11-16 | 2:21 | 474 | 488.999 | 59.53 | 18.111 | 29.602 | 2.525 | 9066 | 7.03 | 29.57
2004-11-16 | 2:22 | 515 | 485.977 | 59.53 | 21.133 | 29.606 | 2.525 | 9054 | 7 | 29.57
2004-11-16 | 2:23 | 586 | 483.136 | 59.52 | 23.974 | 29.609 | 2.525 | 9130 | 6.96 | 29.56
2004-11-16 | 2:24 | 632 | 480.13 | 59.51 | 26.98 | 29.613 | 2.525 | 9076 | 6.93 | 29.58
2004-11-16 | 2:24 | 674 | 477.223 | 59.5 | 29.887 | 29.617 | 2.473 | 9119 | 6.95 | 29.59
2004-11-16 | 2:25 | 724 | 474.266 | 59.49 | 32.844 | 29.621 | 2.525 | 9104 | 6.97 | 29.62
2004-11-16 | 2:26 | 778 | 471.294 | 59.48 | 35.816 | 29.623 | 2.525 | 9064 | 6.94 | 29.62
2004-11-16 | 2:28 | 911 | 468.22 | 59.45 | 38.89 | 29.627 | 2.525 | 9077 | 6.84 | 29.65
2004-11-16 | 2:29 | 957 | 465.116 | 59.44 | 41.994 | 29.629 | 2.499 | 9030 | 6.87 | 29.74
2004-11-16 | 2:30 | 990 | 462.006 | 59.24 | 45.104 | 29.633 | 2.525 | 9025 | 6.88 | 30.17
2004-11-16 | 2:32 | 1115 | 455.614 | 58.54 | 51.496 | 29.641 | 2.447 | 8690 | 6.76 | 31.49
2004-11-16 | 2:33 | 1181 | 446.26 | 57.94 | 60.85 | 29.648 | 2.525 | 8971 | 6.74 | 31.47
2004-11-16 | 2:34 | 1264 | 437.638 | 57.33 | 69.472 | 29.661 | 2.499 | 9204 | 6.69 | 31.51
2004-11-16 | 2:35 | 1331 | 426.681 | 56.01 | 80.429 | 29.67 | 2.525 | 9492 | 6.73 | 32.21
2004-11-16 | 2:37 | 1452 | 416.504 | 55.46 | 90.606 | 29.686 | 2.525 | 9291 | 6.66 | 32.6
2004-11-16 | 2:40 | 1589 | 407.53 | 54.86 | 99.58 | 29.697 | 2.473 | 8598 | 6.54 | 33.21
2004-11-16 | 2:43 | 1805 | 396.576 | 51.22 | 110.534 | 29.705 | 2.499 | 3404 | 6.07 | 37.35
2004-11-16 | 2:46 | 1968 | 386.908 | 50.35 | 120.202 | 29.718 | 2.499 | 2608 | 5.98 | 38.59
2004-11-16 | 2:48 | 2088 | 377.072 | 49.59 | 130.038 | 29.728 | 2.447 | 2216 | 6 | 39.26
2004-11-16 | 2:49 | 2171 | 366.55 | 49.39 | 140.56 | 29.738 | 2.421 | 2023 | 6 | 39.35
2004-11-16 | 2:50 | 2225 | 356.268 | 49.35 | 150.842 | 29.746 | 2.421 | 1961 | 6.12 | 48.12