## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-07-14 | 10:18
Report from file: | ...\SN32034 2005-01-18 131731 flt0501.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.39
Unit name: | Troll 9000
Test name: |  | flt0501
Test defined on: | 2005-01-18 | 13:18
Test started on: | 2005-01-18 | 13:18
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 40
TOTAL DATA SAMPLES | 40
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [31]
Measurement type: | pH
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 556.82
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[25] | Chan[31] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | Clark DO | pH | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | micrograms/L | pH | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-01-18 | 13:18 | 26 | 556.161 | 50.67 | 0.659 | 29.648 | 3.202 | 19866 | 6.66 | 43.9
2005-01-18 | 13:24 | 376 | 553.841 | 50.26 | 2.979 | 29.644 | 3.202 | 16229 | 6.57 | 43.77
2005-01-18 | 13:25 | 460 | 550.775 | 50.21 | 6.045 | 29.651 | 3.176 | 15892 | 6.44 | 43.7
2005-01-18 | 13:27 | 544 | 547.789 | 50.14 | 9.031 | 29.655 | 3.202 | 15584 | 6.41 | 43.7
2005-01-18 | 13:27 | 594 | 544.889 | 50.14 | 11.931 | 29.659 | 3.202 | 15456 | 6.39 | 43.66
2005-01-18 | 13:28 | 636 | 541.874 | 50.09 | 14.946 | 29.661 | 3.15 | 15385 | 6.32 | 43.7
2005-01-18 | 13:29 | 686 | 538.825 | 50.09 | 17.995 | 29.666 | 3.176 | 15262 | 6.29 | 43.69
2005-01-18 | 13:30 | 720 | 535.779 | 50.08 | 21.041 | 29.669 | 3.202 | 15185 | 6.35 | 43.64
2005-01-18 | 13:31 | 833 | 532.85 | 50.07 | 23.97 | 29.674 | 3.176 | 14943 | 6.22 | 43.63
2005-01-18 | 13:32 | 888 | 529.74 | 50.06 | 27.08 | 29.679 | 3.176 | 14766 | 6.15 | 43.6
2005-01-18 | 13:33 | 930 | 526.778 | 50.07 | 30.042 | 29.682 | 3.176 | 14714 | 6.07 | 43.58
2005-01-18 | 13:35 | 1032 | 523.768 | 50.05 | 33.052 | 29.685 | 3.176 | 14623 | 6 | 43.63
2005-01-18 | 13:36 | 1120 | 520.757 | 50.05 | 36.063 | 29.69 | 3.176 | 11757 | 5.95 | 43.54
2005-01-18 | 13:37 | 1146 | 517.878 | 50.05 | 38.942 | 29.691 | 3.176 | 11768 | 5.93 | 43.55
2005-01-18 | 13:37 | 1171 | 514.77 | 50.04 | 42.05 | 29.695 | 3.176 | 11789 | 5.93 | 43.53
2005-01-18 | 13:38 | 1209 | 510.788 | 50.04 | 46.032 | 29.7 | 3.176 | 11829 | 5.92 | 43.51
2005-01-18 | 13:38 | 1239 | 507.993 | 50.04 | 48.827 | 29.704 | 3.15 | 11810 | 5.91 | 43.55
2005-01-18 | 13:39 | 1268 | 504.835 | 50.04 | 51.985 | 29.708 | 3.176 | 11804 | 5.89 | 43.54
2005-01-18 | 13:39 | 1302 | 501.792 | 50.03 | 55.028 | 29.71 | 3.176 | 11806 | 5.91 | 43.53
2005-01-18 | 13:40 | 1348 | 498.617 | 50.04 | 58.203 | 29.715 | 3.176 | 11737 | 5.91 | 43.5
2005-01-18 | 13:41 | 1382 | 495.772 | 50.04 | 61.048 | 29.718 | 3.176 | 11703 | 5.91 | 43.53
2005-01-18 | 13:42 | 1461 | 492.909 | 50.03 | 63.911 | 29.723 | 3.176 | 11517 | 5.91 | 43.53
2005-01-18 | 13:43 | 1511 | 489.75 | 50.03 | 67.07 | 29.725 | 3.15 | 11452 | 5.9 | 43.52
2005-01-18 | 13:44 | 1583 | 486.763 | 49.93 | 70.057 | 29.727 | 3.15 | 11194 | 5.87 | 44.02
2005-01-18 | 13:47 | 1764 | 483.706 | 49.26 | 73.114 | 29.727 | 3.15 | 10334 | 5.76 | 47.48
2005-01-18 | 13:49 | 1895 | 473.462 | 48.71 | 83.358 | 29.739 | 3.15 | 9562 | 5.65 | 47.7
2005-01-18 | 13:51 | 2009 | 463.534 | 48.2 | 93.286 | 29.75 | 3.15 | 10176 | 5.72 | 48.59
2005-01-18 | 13:52 | 2098 | 453.024 | 47.47 | 103.796 | 29.761 | 3.176 | 10684 | 5.79 | 48.98
2005-01-18 | 13:53 | 2149 | 443.797 | 47.15 | 113.023 | 29.77 | 3.124 | 10728 | 5.79 | 48.22
2005-01-18 | 13:54 | 2200 | 434.122 | 47.04 | 122.698 | 29.783 | 3.176 | 10656 | 5.78 | 48.09
2005-01-18 | 13:55 | 2242 | 422.984 | 46.46 | 133.836 | 29.79 | 3.176 | 10770 | 5.8 | 46.79
2005-01-18 | 13:56 | 2292 | 413.078 | 46.21 | 143.742 | 29.804 | 3.15 | 10922 | 5.81 | 46.03
2005-01-18 | 13:57 | 2342 | 403.586 | 46.2 | 153.234 | 29.819 | 3.176 | 11035 | 5.82 | 47.51
2005-01-18 | 13:57 | 2397 | 393.86 | 46.15 | 162.96 | 29.831 | 3.15 | 11053 | 5.84 | 47.45
2005-01-18 | 13:58 | 2435 | 384.189 | 46.08 | 172.631 | 29.842 | 3.124 | 11067 | 5.84 | 47.32
2005-01-18 | 13:59 | 2477 | 374.072 | 46.05 | 182.748 | 29.855 | 3.176 | 11054 | 5.86 | 47.77
2005-01-18 | 14:00 | 2540 | 363.11 | 45.76 | 193.71 | 29.871 | 3.15 | 11129 | 5.88 | 48
2005-01-18 | 14:00 | 2569 | 353.349 | 45.69 | 203.471 | 29.879 | 3.176 | 11146 | 5.97 | 47.81
2005-01-18 | 14:03 | 2734 | 342.991 | 45.67 | 213.829 | 29.894 | 3.176 | 10567 | 6.01 | 47.54
2005-01-18 | 14:04 | 2776 | 339.204 | 45.81 | 217.616 | 29.899 | 3.176 | 10591 | 5.99 | 47.34