## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-06-03 | 10:07
Report from file: | ...\SN32034 2003-07-09 101430 fltr050602.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr050602
Test defined on: | 2003-07-09 | 10:14
Test started on: | 2003-07-09 | 10:14
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 30
TOTAL DATA SAMPLES | 30
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 564.24
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-06-02 | 10:15 | 17 | 563.735 | 71.67 | 0.505 | 29.123 | 3.176 | 7.23 | 22795 | 47.85
2005-06-02 | 10:16 | 97 | 563.927 | 71 | 0.313 | 29.117 | 3.176 | 7.29 | 23593 | 1.38
2005-06-02 | 10:17 | 135 | 561.213 | 71.66 | 3.027 | 29.122 | 3.15 | 7.33 | 23362 | 47.8
2005-06-02 | 10:18 | 220 | 558.243 | 71.21 | 5.997 | 29.126 | 3.176 | 7.28 | 24055 | 47.49
2005-06-02 | 10:19 | 270 | 555.248 | 70.76 | 8.992 | 29.128 | 3.176 | 7.06 | 24567 | 46.96
2005-06-02 | 10:21 | 380 | 552.286 | 67.54 | 11.954 | 29.125 | 3.176 | 7.14 | 27085 | 42.58
2005-06-02 | 10:22 | 452 | 542.211 | 56.89 | 22.029 | 29.095 | 3.15 | 7.06 | 34714 | 25.43
2005-06-02 | 10:24 | 541 | 531.957 | 54.27 | 32.283 | 29.127 | 3.124 | 6.82 | 37033 | 21.31
2005-06-02 | 10:24 | 596 | 522.176 | 54.07 | 42.064 | 29.14 | 3.176 | 6.78 | 37438 | 20.24
2005-06-02 | 10:25 | 651 | 512.16 | 53.91 | 52.08 | 29.151 | 3.15 | 6.73 | 37749 | 20.5
2005-06-02 | 10:27 | 760 | 501.923 | 53.82 | 62.317 | 29.178 | 3.15 | 6.69 | 37444 | 21.1
2005-06-02 | 10:28 | 819 | 491.759 | 53.66 | 72.481 | 29.181 | 3.176 | 6.66 | 37572 | 21
2005-06-02 | 10:29 | 852 | 482.047 | 53.46 | 82.193 | 29.187 | 3.15 | 6.67 | 37620 | 21.87
2005-06-02 | 10:30 | 907 | 472.421 | 53.36 | 91.819 | 29.2 | 3.15 | 6.66 | 37483 | 21.61
2005-06-02 | 10:30 | 949 | 462.305 | 53.15 | 101.935 | 29.21 | 3.15 | 6.66 | 37571 | 21.9
2005-06-02 | 10:31 | 979 | 452.95 | 52.97 | 111.29 | 29.218 | 3.15 | 6.65 | 37655 | 22.68
2005-06-02 | 10:32 | 1034 | 441.504 | 52.79 | 122.736 | 29.235 | 3.15 | 6.67 | 37594 | 23.11
2005-06-02 | 10:32 | 1076 | 432.03 | 52.69 | 132.21 | 29.246 | 3.15 | 6.66 | 37367 | 23.25
2005-06-02 | 10:33 | 1114 | 422.689 | 52.49 | 141.551 | 29.256 | 3.15 | 6.67 | 37390 | 23.43
2005-06-02 | 10:34 | 1156 | 411.99 | 52.31 | 152.25 | 29.268 | 3.15 | 6.68 | 37241 | 23.28
2005-06-02 | 10:34 | 1190 | 402.263 | 52.08 | 161.977 | 29.279 | 3.15 | 6.68 | 37295 | 23.68
2005-06-02 | 10:35 | 1245 | 392.512 | 51.83 | 171.728 | 29.295 | 3.15 | 6.67 | 37135 | 24.17
2005-06-02 | 10:38 | 1389 | 382.003 | 51.56 | 182.237 | 29.318 | 3.124 | 6.62 | 36891 | 23.97
2005-06-02 | 10:38 | 1419 | 372.188 | 51.27 | 192.052 | 29.318 | 3.15 | 6.6 | 37065 | 24.14
2005-06-02 | 10:39 | 1465 | 361.928 | 50.09 | 202.312 | 29.318 | 3.124 | 6.59 | 37734 | 25.89
2005-06-02 | 10:40 | 1519 | 352.144 | 49.43 | 212.096 | 29.335 | 3.15 | 6.58 | 37647 | 26.93
2005-06-02 | 10:42 | 1676 | 341.997 | 48.61 | 222.243 | 29.359 | 3.15 | 6.56 | 36705 | 28.32
2005-06-02 | 10:44 | 1786 | 331.45 | 47.57 | 232.79 | 29.368 | 3.15 | 6.48 | 36123 | 30.62
2005-06-02 | 10:45 | 1820 | 321.716 | 47.17 | 242.524 | 29.367 | 3.15 | 6.47 | 36157 | 31.7
2005-06-02 | 10:45 | 1845 | 317.738 | 47.14 | 246.502 | 29.372 | 3.15 | 6.49 | 35847 | 32.23

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-06-03 | 10:09
Report from file: | ...\SN32034 2003-07-09 110449 win050602.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win050602
Test defined on: | 2003-07-09 | 11:05
Test started on: | 2003-07-09 | 11:05
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 24
TOTAL DATA SAMPLES | 24
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 564.24
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-06-02 | 11:05 | 23 | 564.016 | 71.25 | 0.224 | 29.123 | 3.15 | 7.53 | 36417 | 1.38
2005-06-02 | 11:08 | 216 | 561.228 | 74.53 | 3.012 | 29.128 | 3.15 | 7.77 | 26976 | 49.54
2005-06-02 | 11:09 | 274 | 558.227 | 74.13 | 6.013 | 29.125 | 3.124 | 7.73 | 26399 | 48.99
2005-06-02 | 11:10 | 333 | 555.227 | 73.93 | 9.013 | 29.126 | 3.15 | 7.68 | 24978 | 48.69
2005-06-02 | 11:12 | 405 | 552.232 | 73.83 | 12.008 | 29.13 | 3.15 | 7.66 | 24626 | 48.68
2005-06-02 | 11:14 | 536 | 548.734 | 62.29 | 15.506 | 29.105 | 3.098 | 7.75 | 31840 | 33.99
2005-06-02 | 11:17 | 746 | 538.191 | 55.4 | 26.049 | 29.133 | 3.124 | 7.05 | 34416 | 21.31
2005-06-02 | 11:19 | 856 | 529.039 | 54.81 | 35.201 | 29.14 | 3.098 | 6.87 | 34679 | 20.47
2005-06-02 | 11:20 | 911 | 518.782 | 54.34 | 45.458 | 29.141 | 3.15 | 6.76 | 35197 | 19.33
2005-06-02 | 11:21 | 957 | 508.654 | 54.14 | 55.586 | 29.15 | 3.15 | 6.69 | 35346 | 18.84
2005-06-02 | 11:22 | 1008 | 499.312 | 53.84 | 64.928 | 29.159 | 3.15 | 6.32 | 35601 | 19.46
2005-06-02 | 11:23 | 1066 | 491.699 | 53.49 | 72.541 | 29.171 | 3.15 | 6.15 | 35794 | 20.07
2005-06-02 | 11:25 | 1209 | 489.648 | 53.48 | 74.592 | 29.187 | 3.124 | 6.19 | 35267 | 20.26
2005-06-02 | 11:26 | 1243 | 478.596 | 53.35 | 85.644 | 29.187 | 3.15 | 6.2 | 35402 | 19.68
2005-06-02 | 11:26 | 1290 | 469.621 | 53.28 | 94.619 | 29.197 | 3.15 | 6.23 | 35452 | 19.83
2005-06-02 | 11:27 | 1324 | 460.108 | 53.13 | 104.132 | 29.205 | 3.124 | 6.25 | 35565 | 19.83
2005-06-02 | 11:28 | 1370 | 449.304 | 53.02 | 114.936 | 29.218 | 3.15 | 6.27 | 35600 | 20.91
2005-06-02 | 11:28 | 1412 | 439.151 | 53 | 125.089 | 29.232 | 3.124 | 6.29 | 35526 | 21.18
2005-06-02 | 11:30 | 1501 | 429.55 | 52.91 | 134.69 | 29.254 | 3.124 | 6.32 | 35433 | 21.61
2005-06-02 | 11:30 | 1534 | 418.605 | 52.7 | 145.635 | 29.257 | 3.098 | 6.31 | 35509 | 22.47
2005-06-02 | 11:31 | 1568 | 409.296 | 52.24 | 154.944 | 29.261 | 3.15 | 6.32 | 35763 | 23.6
2005-06-02 | 11:32 | 1615 | 398.399 | 51.93 | 165.841 | 29.276 | 3.15 | 6.38 | 35840 | 23.8
2005-06-02 | 11:33 | 1661 | 389.142 | 51.25 | 175.098 | 29.288 | 3.124 | 6.35 | 36141 | 23.82
2005-06-02 | 11:33 | 1682 | 388.767 | 51.21 | 175.473 | 29.295 | 3.124 | 6.36 | 36105 | 25.28

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2005-06-03 | 10:10
Report from file: | ...\SN32034 2003-07-10 100135 fin050603.bin
Win-Situ Version | 4.5
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin050603
Test defined on: | 2003-07-10 | 10:02
Test started on: | 2003-07-10 | 10:02
Test stopped on: | N/A | N/A
Test extracted on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 23
TOTAL DATA SAMPLES | 23
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 564.24
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2005-06-03 | 10:02 | 36 | 563.742 | 73.88 | 0.498 | 29.207 | 3.098 | 7.29 | 9034 | 49.06
2005-06-03 | 10:03 | 73 | 561.307 | 73.83 | 2.933 | 29.196 | 3.098 | 7.33 | 8991 | 49.3
2005-06-03 | 10:03 | 111 | 558.065 | 73.82 | 6.175 | 29.204 | 3.072 | 7.33 | 9022 | 49.34
2005-06-03 | 10:06 | 284 | 554.714 | 62.14 | 9.526 | 29.201 | 3.098 | 7.14 | 12727 | 26.39
2005-06-03 | 10:10 | 489 | 544.538 | 56.03 | 19.702 | 29.195 | 3.072 | 6.63 | 13434 | 18.75
2005-06-03 | 10:10 | 535 | 535.212 | 54.42 | 29.028 | 29.191 | 3.098 | 6.58 | 13673 | 16.9
2005-06-03 | 10:12 | 606 | 525.258 | 54.23 | 38.982 | 29.212 | 3.098 | 6.5 | 13484 | 16.81
2005-06-03 | 10:12 | 644 | 515.147 | 53.98 | 49.093 | 29.215 | 3.098 | 6.46 | 13469 | 16.42
2005-06-03 | 10:13 | 686 | 505.335 | 53.88 | 58.905 | 29.227 | 3.098 | 6.43 | 13456 | 16.39
2005-06-03 | 10:14 | 741 | 494.991 | 53.82 | 69.249 | 29.245 | 3.098 | 6.37 | 13432 | 16.41
2005-06-03 | 10:15 | 779 | 485.134 | 53.72 | 79.106 | 29.254 | 3.098 | 6.34 | 13464 | 16.3
2005-06-03 | 10:17 | 901 | 475.275 | 53.62 | 88.965 | 29.284 | 3.098 | 6.31 | 13340 | 16.3
2005-06-03 | 10:17 | 943 | 464.843 | 53.42 | 99.397 | 29.285 | 3.072 | 6.3 | 13384 | 16.58
2005-06-03 | 10:18 | 985 | 454.621 | 53.16 | 109.619 | 29.292 | 3.046 | 6.24 | 13385 | 17.13
2005-06-03 | 10:19 | 1023 | 444.885 | 53.06 | 119.355 | 29.302 | 3.098 | 6.21 | 13375 | 17.25
2005-06-03 | 10:19 | 1073 | 435.113 | 52.77 | 129.127 | 29.316 | 3.046 | 6.25 | 13462 | 17.93
2005-06-03 | 10:20 | 1123 | 424.816 | 52.51 | 139.424 | 29.33 | 3.072 | 6.28 | 13374 | 19.04
2005-06-03 | 10:21 | 1161 | 415.198 | 52.19 | 149.042 | 29.337 | 3.098 | 6.26 | 13354 | 20.87
2005-06-03 | 10:22 | 1242 | 404.405 | 51.65 | 159.835 | 29.36 | 3.098 | 6.27 | 13178 | 22.76
2005-06-03 | 10:23 | 1314 | 394.749 | 51.52 | 169.491 | 29.372 | 3.072 | 6.32 | 13071 | 22.94
2005-06-03 | 10:24 | 1373 | 385.048 | 51.14 | 179.192 | 29.38 | 3.098 | 6.33 | 13024 | 23.67
2005-06-03 | 10:25 | 1398 | 376.724 | 50.93 | 187.516 | 29.384 | 3.098 | 6.35 | 12990 | 26.58
2005-06-03 | 10:25 | 1407 | 376.747 | 50.89 | 187.493 | 29.384 | 3.098 | 6.35 | 12910 | 26.68