## Forebay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-05-16 | 10:47
Report from file: | ...\SN32034 2006-05-08 093858 fltr060508.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fltr060508
Test defined on: | 2006-05-08 | 9:39
Test started on: | 2006-05-08 | 9:39
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 27
TOTAL DATA SAMPLES | 27
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 535.82
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-05-08 | 9:40 | 36 | 535.07 | 70.98 | 0.75 | 29.347 | 2.655 | 6.96 | 6655 | 77.1234 | 39.54
2006-05-08 | 9:41 | 137 | 532.782 | 69.75 | 3.038 | 29.342 | 2.655 | 6.95 | 6293 | 71.9858 | 39.06
2006-05-08 | 9:43 | 238 | 529.708 | 69.53 | 6.112 | 29.342 | 2.655 | 6.93 | 5836 | 66.5943 | 38.86
2006-05-08 | 9:44 | 293 | 526.74 | 69.34 | 9.08 | 29.343 | 2.629 | 6.97 | 5795 | 65.9897 | 38.85
2006-05-08 | 9:44 | 326 | 523.791 | 69.22 | 12.029 | 29.344 | 2.655 | 6.99 | 5767 | 65.575 | 38.87
2006-05-08 | 9:46 | 398 | 520.747 | 66.99 | 15.073 | 29.341 | 2.629 | 7.01 | 6197 | 68.7654 | 37.8
2006-05-08 | 9:47 | 494 | 510.647 | 54.48 | 25.173 | 29.299 | 2.655 | 6.59 | 7314 | 70.1045 | 33.33
2006-05-08 | 9:48 | 549 | 500.388 | 53.41 | 35.432 | 29.317 | 2.629 | 6.6 | 7443 | 70.3423 | 30.09
2006-05-08 | 9:49 | 591 | 490.514 | 52.44 | 45.306 | 29.325 | 2.655 | 6.65 | 7536 | 70.3263 | 27.95
2006-05-08 | 9:50 | 633 | 480.949 | 52.29 | 54.871 | 29.341 | 2.655 | 6.68 | 7571 | 70.4778 | 27.75
2006-05-08 | 9:50 | 683 | 470.808 | 51.88 | 65.012 | 29.356 | 2.577 | 6.73 | 7712 | 71.3788 | 26.39
2006-05-08 | 9:51 | 738 | 460.614 | 51.71 | 75.206 | 29.373 | 2.629 | 6.77 | 7587 | 70.0231 | 25.97
2006-05-08 | 9:52 | 784 | 450.863 | 51.56 | 84.957 | 29.385 | 2.629 | 6.74 | 7494 | 69.0017 | 26.05
2006-05-08 | 9:53 | 822 | 440.829 | 51.42 | 94.991 | 29.396 | 2.577 | 6.73 | 7407 | 68.0615 | 26.31
2006-05-08 | 9:53 | 864 | 430.753 | 51.2 | 105.067 | 29.407 | 2.629 | 6.7 | 7354 | 67.3515 | 26.62
2006-05-08 | 9:54 | 889 | 420.752 | 51.01 | 115.068 | 29.416 | 2.629 | 6.68 | 7332 | 66.9616 | 27.79
2006-05-08 | 9:54 | 927 | 410.529 | 50.62 | 125.291 | 29.421 | 2.629 | 6.68 | 7304 | 66.359 | 29.25
2006-05-08 | 9:55 | 973 | 400.786 | 50.16 | 135.034 | 29.439 | 2.629 | 6.68 | 7255 | 65.4826 | 31.15
2006-05-08 | 9:56 | 1011 | 390.628 | 49.45 | 145.192 | 29.449 | 2.629 | 6.64 | 7250 | 64.8042 | 30.99
2006-05-08 | 9:57 | 1053 | 380.258 | 48.79 | 155.562 | 29.46 | 2.577 | 6.64 | 7281 | 64.4885 | 30.55
2006-05-08 | 9:57 | 1090 | 370.092 | 48.41 | 165.728 | 29.474 | 2.629 | 6.65 | 7285 | 64.1726 | 29.42
2006-05-08 | 9:58 | 1145 | 360.364 | 48.09 | 175.456 | 29.496 | 2.629 | 6.63 | 7317 | 64.1258 | 29.44
2006-05-08 | 9:59 | 1183 | 350.994 | 47.51 | 184.826 | 29.504 | 2.603 | 6.59 | 7390 | 64.253 | 30
2006-05-08 | 10:00 | 1233 | 340.594 | 46.87 | 195.226 | 29.515 | 2.629 | 6.52 | 7374 | 63.5411 | 31.09
2006-05-08 | 10:01 | 1292 | 330.053 | 46.43 | 205.767 | 29.533 | 2.577 | 6.45 | 7042 | 60.2796 | 32.08
2006-05-08 | 10:01 | 1343 | 320.142 | 46.21 | 215.678 | 29.545 | 2.629 | 6.4 | 6835 | 58.3095 | 32.58
2006-05-08 | 10:02 | 1364 | 313.546 | 46.21 | 222.274 | 29.553 | 2.603 | 6.42 | 6716 | 57.2806 | 34.8

## Winchell Bay
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-05-16 | 10:50
Report from file: | ...\SN32034 2006-05-08 102255 win060508.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | win060508
Test defined on: | 2006-05-08 | 10:23
Test started on: | 2006-05-08 | 10:23
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 21
TOTAL DATA SAMPLES | 21
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 535.82
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-05-08 | 10:24 | 44 | 535.108 | 71.17 | 0.712 | 29.338 | 2.577 | 7.49 | 7303 | 84.8446 | 41.47
2006-05-08 | 10:25 | 95 | 532.834 | 70.84 | 2.986 | 29.341 | 2.629 | 7.37 | 7177 | 83.0682 | 41.56
2006-05-08 | 10:26 | 158 | 529.879 | 67.68 | 5.941 | 29.334 | 2.629 | 7.24 | 7782 | 87.0407 | 40.93
2006-05-08 | 10:26 | 166 | 529.837 | 68.37 | 5.983 | 29.337 | 2.629 | 7.23 | 7578 | 85.3988 | 41.5
2006-05-08 | 10:27 | 234 | 526.686 | 67.09 | 9.134 | 29.337 | 2.629 | 7.17 | 7833 | 87.0346 | 39.56
2006-05-08 | 10:28 | 334 | 516.728 | 59.11 | 19.092 | 29.325 | 2.577 | 6.85 | 8101 | 82.1086 | 36.73
2006-05-08 | 10:29 | 393 | 506.753 | 54.46 | 29.067 | 29.306 | 2.603 | 6.75 | 8017 | 76.8072 | 32.68
2006-05-08 | 10:30 | 455 | 496.98 | 53.27 | 38.84 | 29.327 | 2.629 | 6.81 | 8217 | 77.4924 | 29.5
2006-05-08 | 10:31 | 513 | 486.471 | 52.61 | 49.349 | 29.342 | 2.629 | 6.82 | 8350 | 78.0506 | 26.39
2006-05-08 | 10:33 | 579 | 476.607 | 52.19 | 59.213 | 29.358 | 2.629 | 6.85 | 8425 | 78.2795 | 25.65
2006-05-08 | 10:33 | 621 | 466.848 | 51.87 | 68.972 | 29.361 | 2.629 | 6.8 | 8429 | 77.9876 | 27.12
2006-05-08 | 10:34 | 662 | 456.652 | 51.77 | 79.168 | 29.369 | 2.577 | 6.73 | 8348 | 77.1128 | 28.98
2006-05-08 | 10:35 | 712 | 446.876 | 51.68 | 88.944 | 29.39 | 2.603 | 6.74 | 8286 | 76.4064 | 27.54
2006-05-08 | 10:36 | 775 | 437.006 | 51.4 | 98.814 | 29.411 | 2.577 | 6.74 | 8348 | 76.6428 | 25.81
2006-05-08 | 10:36 | 812 | 426.547 | 51.27 | 109.273 | 29.417 | 2.629 | 6.7 | 8332 | 76.3488 | 26.99
2006-05-08 | 10:38 | 883 | 416.541 | 51.07 | 119.279 | 29.434 | 2.629 | 6.69 | 8148 | 74.4284 | 28.68
2006-05-08 | 10:38 | 916 | 406.964 | 50.65 | 128.856 | 29.436 | 2.551 | 6.61 | 8099 | 73.5726 | 30.73
2006-05-08 | 10:39 | 962 | 396.963 | 50.01 | 138.857 | 29.443 | 2.629 | 6.57 | 7968 | 71.7602 | 31.6
2006-05-08 | 10:40 | 1000 | 386.986 | 49.15 | 148.834 | 29.452 | 2.629 | 6.55 | 7984 | 71.0694 | 31.34
2006-05-08 | 10:41 | 1066 | 376.82 | 48.58 | 159 | 29.475 | 2.603 | 6.57 | 8020 | 70.803 | 30.31
2006-05-08 | 10:41 | 1087 | 370.514 | 48.54 | 165.306 | 29.483 | 2.629 | 6.51 | 7951 | 70.1384 | 31.64

## Finegold
In-Situ Inc. | Troll 9000 Profiler
Report generated: | 2006-05-16 | 10:52
Report from file: | ...\SN32034 2006-05-08 105919 fin060508.bin
Win-Situ Version | 4.533
Serial number: | 32034
Firmware Version | 1.46
Unit name: | Troll 9000
Test name: |  | fin060508
Test defined on: | 2006-05-08 | 10:59
Test started on: | 2006-05-08 | 10:59
Test stopped on: | N/A | N/A
Data gathered using Event testing
Time between data points: 0.0 | Seconds.
Time between default storages: 0.0 | Seconds.
Monitoring data on channel [1]
Data stored if delta value exceeds: | 0 | Fahrenheit
Number of data samples: | 20
TOTAL DATA SAMPLES | 20
Channel number [1]
Measurement type: | Temperature
Channel name:
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 300 PSIG.
Density: |  | 1.000 g/cm3
Latitude: | 45 degrees
Elevation: | 0.000 meters (0.000 feet)
Channel number [3]
Measurement type: | Barometric Pressure
Channel name:
Channel number [5]
Measurement type: | Battery Voltage
Channel name:
Channel number [11]
Measurement type: | pH
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen
Channel name:
Channel number [25]
Measurement type: | Dissolved Oxygen %Saturation
Channel name:
Channel number [45]
Measurement type: | Conductivity, Low Range
Channel name:
Surface Elevation (Ft)= | 535.82
|  |  |  | Chan[1] | Chan[2] | Chan[3] | Chan[5] | Chan[11] | Chan[25] | Chan[25] | Chan[45]
|  |  | Elevation | Temperature | Pressure | Barometric | Battery | pH | Clark DO | Clark DO Sat | Conductivity
Date | Time | ET (sec) | Feet | Fahrenheit | Feet H2O | Inches Hg | Volts | pH | micrograms/L | %Saturation | microSiemens/cm Actual Conductivity
-------- | -------- | ------------ |  | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-05-08 | 11:00 | 14 | 535.307 | 72.22 | 0.513 | 29.34 | 2.629 | 7.44 | 5419 | 63.6448 | 1.39
2006-05-08 | 11:01 | 111 | 532.82 | 71.78 | 3 | 29.331 | 2.629 | 7.3 | 5494 | 64.2682 | 48.81
2006-05-08 | 11:01 | 120 | 532.774 | 71.74 | 3.046 | 29.333 | 2.577 | 7.29 | 5498 | 64.2855 | 48.84
2006-05-08 | 11:02 | 170 | 529.736 | 69.89 | 6.084 | 29.331 | 2.629 | 7.25 | 5786 | 66.3095 | 50.23
2006-05-08 | 11:04 | 258 | 526.714 | 60.84 | 9.106 | 29.29 | 2.603 | 7.03 | 7542 | 78.125 | 36.58
2006-05-08 | 11:05 | 328 | 516.662 | 55.46 | 19.158 | 29.289 | 2.629 | 6.86 | 8621 | 83.675 | 27.43
2006-05-08 | 11:06 | 378 | 506.915 | 53.45 | 28.905 | 29.297 | 2.603 | 6.76 | 8823 | 83.4801 | 24.61
2006-05-08 | 11:06 | 424 | 496.856 | 52.82 | 38.964 | 29.31 | 2.629 | 6.75 | 8756 | 82.1471 | 23.98
2006-05-08 | 11:07 | 466 | 486.786 | 52.45 | 49.034 | 29.322 | 2.603 | 6.74 | 8683 | 81.0495 | 23.68
2006-05-08 | 11:08 | 520 | 476.818 | 52.1 | 59.002 | 29.344 | 2.603 | 6.79 | 8582 | 79.693 | 23.31
2006-05-08 | 11:09 | 570 | 466.983 | 51.85 | 68.837 | 29.353 | 2.603 | 6.73 | 8573 | 79.3252 | 23.21
2006-05-08 | 11:10 | 624 | 456.8 | 51.68 | 79.02 | 29.369 | 2.551 | 6.72 | 8520 | 78.6117 | 23.25
2006-05-08 | 11:10 | 670 | 446.755 | 51.48 | 89.065 | 29.379 | 2.551 | 6.7 | 8519 | 78.377 | 23.4
2006-05-08 | 11:11 | 716 | 436.902 | 51.19 | 98.918 | 29.391 | 2.551 | 6.7 | 8477 | 77.6643 | 23.95
2006-05-08 | 11:12 | 754 | 426.731 | 50.74 | 109.089 | 29.402 | 2.629 | 6.68 | 8401 | 76.4977 | 25.3
2006-05-08 | 11:13 | 791 | 416.773 | 50.35 | 119.047 | 29.408 | 2.603 | 6.63 | 8376 | 75.8624 | 26.41
2006-05-08 | 11:13 | 833 | 406.878 | 49.52 | 128.942 | 29.419 | 2.551 | 6.58 | 8452 | 75.6909 | 28.73
2006-05-08 | 11:14 | 879 | 396.837 | 49.03 | 138.983 | 29.434 | 2.629 | 6.54 | 8380 | 74.5312 | 29.34
2006-05-08 | 11:15 | 912 | 386.84 | 48.33 | 148.98 | 29.442 | 2.577 | 6.5 | 8421 | 74.1866 | 29.7
2006-05-08 | 11:15 | 945 | 377.065 | 48.18 | 158.755 | 29.452 | 2.629 | 6.49 | 8311 | 73.0443 | 37.63